SECTION 01 10 00

SUMMARY OF WORK

NOTE:  This guide specification is provided as a guideline and must be modified, as required, by the Designer of Record for each project. This specification is prepared in general accordance with CSI format to be included under Division 1 – General Requirements.  Additional information is provided.  [delete this paragraph]

Optional information is presented in “blue” font below.  Choose appropriate options, delete as necessary.  [delete this paragraph]

- GENERAL

  - RELATED SECTIONS

    - Division 010000 – General Requirements

    - Division 071352 – Modified Bituminous Sheet Waterproofing (Blindside Waterproofing)

    - Division 071413 – Hot Fluid-Applied Rubberized Asphalt Waterproofing

    - Division 071416 – Cold Fluid-Applied Waterproofing

    - Division 072200 – Roof Insulation

    - Division 072713 – Modified Bituminous Sheet Vapor Retarders

    - Division 075216 – Styrene-Butadiene-Styrene (SBS) Modified Bitumen Membrane Roofing

    - Division 075419 – Polyvinyl-Chloride (PVC) Roofing

    - Division 076200 – Sheet Metal Flashing and Trim

  - DESCRIPTION

    - The Work includes the provision of all labor, material, equipment, management, coordination, supervision and administration to complete the Work as outlined.

    - The Contractor shall complete the following Work.  The following outline of Work is noted by System.  The Work includes, but is not limited to the following:

      - SYSTEM #1 (Roofing):

        - Preparation of existing (new), concrete, steel, wood, gypsum, cementitious wood fiber roof deck, and all flashing substrates.

        - Anchor/Base Sheet mechanically fastened.

        - SBS-modified bitumen vapor retarder (air barrier).

        - Insulation and/or coverboard (mechanically fastened, adhered).

        - Lightweight Insulating Concrete

        - SBS-modified bitumen base ply(s) (heat-welded, cold adhesive-applied, self-adhesive, asphalt-applied, mechanically fastened).

        - SBS-modified bitumen cap sheet (heat-welded, cold adhesive-applied, self-adhesive, asphalt-applied).

        - SBS-modified bitumen membrane flashings.

        - Liquid-applied, reinforced flashings.

        - PVC membrane (mechanically fastened, fully adhered).

        - PVC membrane flashings fully adhered.

      - SYSTEM #1 (Waterproofing):

        - Preparation of existing (new), concrete, steel, wood, gypsum, cementitious wood fiber roof deck, and all flashing substrates.

        - Anchor/Base Sheet mechanically fastened.

        - SBS-modified bitumen vapor retarder (air barrier).

        - Insulation and/or coverboard (mechanically fastened, adhered).

        - Lightweight Insulating Concrete

        - SBS-modified bitumen base ply(s) (heat-welded, cold adhesive-applied, self-adhesive, asphalt-applied, mechanically fastened).

        - SBS-modified bitumen cap sheet (heat-welded, cold adhesive-applied, self-adhesive, asphalt-applied).

        - SBS-modified bitumen membrane flashings.

        - Liquid-applied, reinforced flashings.

        - Overburden (garden roof, pavers)

END OF SECTION