SECTION 07 27 26

FLUID-APPLIED AIR/WATER RESISTIVE BARRIERS

(SOPRASEAL LM 203)

NOTE:  This guide specification is provided as a guideline and must be modified, as required, by the Designer of Record for each project. This specification is prepared in general accordance with CSI format to be included under Division 7 – Thermal and Moisture Protection.  Additional information is provided.  [delete this paragraph]

Optional information is presented in “blue” font below.  Choose appropriate options, delete as necessary.  [delete this paragraph]

# GENERAL

## SUMMARY

### Work shall include, but is not limited to, the application of the specified ready-mixed resilient, fluid applied, air/water-resistive barrier and flexible flashing for use behind the exterior wall claddings.

#### Clean and prepare substrates.

#### Seal and bridge open gaps and open-air pathways including:

##### Connections of walls to foundations

##### Connections of walls to the roof air barrier

##### Seismic and expansion joints

##### Openings and penetrations in the building envelope

##### Masonry ties, screws, bolts, and similar penetrations

##### All other leakage pathways through opaque walls

#### Provide labor and materials necessary to complete the water-resistive air barrier and associated flexible flashing suitable for use as part of a secondary drainage system for the [brick][natural and manufactured stone veneers][EIFS][metal composite][siding][exterior cladding systems].

#### Refer to drawings for all related materials and labor required.

## RELATED SECTIONS

### Section 03 00 00 Concrete substrate

### Section 04 00 00 Masonry substrate

### Section 05 40 00 Cold-formed metal framing

### Section 06 11 00 Wood framing

### Section 06 16 00 Sheathing

### Section 07 62 00 Sheet metal flashing and trim

### Section 07 65 00 Flexible flashing

### Section 07 90 00 Joint protection

### Section 08 00 00 Openings

### Section 08 50 00 Windows

### Section 09 22 16 Non-structural metal framing

### Section 09 29 00 Gypsum board

## DEFINITIONS

### Air Barrier Material: A building material that is designed and constructed to provide the primary resistance to airflow through an air barrier assembly.

### Air Barrier Accessory: A building material that is used to tie air barrier materials together to form an assembly.

### Air Barrier Assembly: A combination of air barrier materials and accessories that creates an air seal.

### Air Barrier System: The collection of air barrier materials and accessories applied to the building enclosure, including roof, foundation, joints and junctions to abutting construction, to control air movement through the wall.

### Water-Resistive Barrier Assembly: The collection of water-resistive materials and accessories that direct incidental water that may pass the primary rain screen out of the wall cladding while providing protection for underlying sheathing materials.

### ASTM D 1079-Definitions of Term Relating to Roofing and Waterproofing.

### The National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual, Fifth Edition Glossary.

## REFERENCES

### AMERICAN STANDARD OF TESTING METHODS (ASTM):

#### C920 Specifications for Elastomeric Joint Sealants

#### C1177 Specification for Glass Mat Gypsum Substrate for Use as Sheathing

#### C1396 Standard Specification for Gypsum Board

#### C1193 Guide for Use of Joint Sealants

#### D412 Standard Test Methods for Rubber Properties in Tension

#### D4258 Practice for Surface Cleaning Concrete for Coating

#### D4263 Test Method for Indicating Moisture in Concrete by the Plastic Sheet Method

#### D4541 Standard Test Method for Pull-Off Strength of Coatings Using Portable Adhesion Testers

#### E84 Test Method for Surface Burning Characteristics of Building Materials

#### E96 Test Methods for Water Vapor Transmission of Materials

#### E283 Test Method for Determining the Rate of Air Leakage through Exterior Windows, Curtain Walls, and Doors under Specified Pressure Differences across the Specimen

#### E330 Standard Test Method for the Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Pressure Difference

#### E331 Standard Test Method for Water Penetration of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure

#### E1105 Standard Test Method for Field Determination of Water Penetration of Installed Exterior Windows, Doors, Skylights and Curtain Walls by Uniform or Cyclic Static Air Pressure Difference

#### E2178 Standard Test Method for Air Permeance of Building Materials

#### E2357 Standard Test Method for Determining Air Leakage of Air Barrier Assemblies.

### Building Codes

#### ICC-ES Acceptance Criteria for Water Resistive Coatings used as Water Resistive Barrier Over Exterior Sheathing, AC 212

#### ICC-ES Acceptance Criteria for Flexible Flashing Materials, AC 148/AAMA 711-07

#### Commonwealth of Massachusetts Building Code.

## SUBMITTALS

### Product Data Sheets: Submit manufacturer’s product data sheets, installation instructions and/or general requirements for each component.

### Safety Data Sheets: Submit manufacturer’s Safety Data Sheets (SDS) for each component.

### Sample/Specimen Warranty from the manufacturer and contractor.

### Contractor Authorization: Submit written certification from manufacturer indicating the applicator is authorized by the manufacturer to install the specified materials and system.

### Closeout Submittals:

#### Provide manufacturers and contractor’s warranties upon substantial completion of the roofing system.

## WARRANTY

### Provide Manufacturer’s [5][10] year Limited Materials Warranty for the specified fluid applied, air/water-resistive barrier.

## QUALITY ASSURANCE

### MANUFACTURER QUALIFICATIONS:

#### Manufacture shall have 20 years of experience manufacturing roofing, waterproofing, vapor barriers, air barriers and related building enclosure materials.

#### Manufacturer shall have an ICC-ES Evaluation Report confirming compliance with AC 212 Acceptance Criteria for Water-Resistive Coatings used as Water-Resistive Barriers over Exterior Sheathing.

### APPLICATOR QUALIFICATIONS:

#### Applicator experienced in applying air/water-resistive barrier materials similar in material, design, and extent to those indicated for this project, whose work has resulted in applications with a record of successful in-service performance.

#### Knowledgeable in the proper use and handling of specified wall systems products.

#### Employ skilled installers who are experienced and knowledgeable in air/water resistive barrier application, and familiar with the requirements of the specified work.

#### Provide the proper equipment, manpower and supervision on the job site to install the system in compliance with the specified wall system manufacturer’s published requirements.

### REGULATORY REQUIREMENTS:

#### Conform to applicable code requirements for air/water-resistive barriers.

### SINGLE SOURCE MANUFACTURER:

#### Primary fluid-applied air/water-resistive barrier and related accessories shall be sourced from one manufacturer regularly engaged in production of air/water-resistive barrier materials.

### MOCKUPS:

#### Before beginning installation of air/water-resistive barrier, provide mockups incorporating backup wall construction, external cladding, window, door frame and sill, insulation, and flashing to demonstrate surface preparation, crack, and joint treatment, and sealing of gaps, terminations, and penetrations of air barrier membrane.

#### Coordinate construction of mockup to permit inspection by Owner’s testing agency of air/water-resistive barrier before external insulation and cladding is installed.

#### If designer determines mockups do not comply with project requirements, reconstruct mockups, and apply air/water resistive barrier until mockups are approved by the Designer.

### PRE-INSTALLATION CONFERENCE:

#### A pre-installation conference shall be held prior to commencement of work to establish procedures to maintain optimum working conditions and to coordinate the specified work with related and adjacent work. Pre-installation conference shall include the Designer, General Contractor and Applicator. Agenda for meeting shall include but not be limited to the following:

##### Review of submittals.

##### Review of surface preparation, minimum curing period and installation procedures.

##### Review of special details and flashings.

##### Sequence of construction, responsibilities, and schedule for subsequent operations.

##### Review of mock-up requirements.

##### Review of inspection, testing, protection, and repair procedures.

### COORDINATION OF TRADES:

#### The Designer, General Contractor and Applicator shall evaluate adjacent materials such as windows, doors, etc. for conformance to project details. Adjacent trades shall provide scaled shop drawings for review by the Designer.

#### The General Contractor shall make provision for installation of air seals between the primary air barrier and other wall components (penetrations, etc.) to maintain continuity of an air barrier system.

#### The Applicator shall provide protection of rough openings before installing windows, doors, and other penetrations through the wall.

## DELIVERY, STORAGE AND HANDLING

### Refer to each product data sheet or other published literature for specific requirements.

### Deliver materials and store them in their unopened, original packaging, bearing the manufacturer's name, related standards, and any other specification or reference accepted as standard.

### Protect and store materials in a dry, well-vented, weatherproof location protected from damaging exposures, direct sunlight, and extreme heat.

### Do not store in freezing temperatures, and ensure the storage is no less than 4(C (40(F).

### Properly dispose of all pails, product wrappers, pallets, cardboard tubes, scrap, waste, and debris.  All damaged materials shall be removed from job site and replaced with new, suitable materials.

## SITE CONDITIONS

### SAFETY:

#### The applicator shall be responsible for complying with all project-related safety and environmental requirements.

#### The applicator shall review project conditions and determine when and where conditions are appropriate to utilize the specified materials.  When conditions are determined by the applicator to be unsafe or undesirable to proceed, measures shall be taken to prevent or eliminate the unsafe or undesirable exposures and conditions, or equivalent approved materials and methods shall be utilized to accommodate requirements and conditions.

#### The applicator shall refer to product Safety Data Sheets (SDS) for health, safety, and environment related hazards, and take all necessary measures and precautions to comply with exposure requirements.

### ENVIRONMENTAL CONDITIONS:

#### Do not apply materials in ambient temperatures below 4°C (40°F). Provide properly vented, supplementary heat during installation and drying period when temperatures less than 4°C (40°F) prevail or use a Low Temperature Additive specifically designed for the product.

#### Do not apply materials to frozen or frost covered surfaces.

#### Maintain ambient temperature at or above 4°C (40°F) during application of all materials and until dry. If a Low Temperature Additive is used, maintain ambient temperature no less than -4°C (25°F) during application of all materials and until dry.

#### Monitor substrate temperature and material temperature, as well as all environmental conditions such as ambient temperature, moisture, sun, cloud cover, wind, humidity, and shade.  Ensure conditions are satisfactory to begin work and ensure conditions remain satisfactory during the installation of specified materials.  Materials and methods shall be adjusted as necessary to accommodate varying project conditions.  Materials shall not be installed when conditions are unacceptable to achieve the specified results.

#### Precipitation and dew point:  Monitor weather to ensure the project environment is dry before, and will remain dry, during the application of materials.   Ensure all materials and substrates remain above the dew point temperature as required to prevent condensation and maintain dry conditions.

## PERFORMANCE REQUIREMENTS

### GENERAL:

#### Fluid-applied, vapor-permeable air/water-resistive barrier shall be capable of performing as a continuous vapor-permeable air barrier and as a liquid-water drainage plane flashed to discharge water and incidental condensation to the exterior.

#### At wall cladding transitions, the air/water-resistive barrier shall form a continuous air barrier and shall make provision for water drainage, either by creation of an unobstructed drainage plane that extends across the cladding transition or by flashing to discharge to the exterior at the transition.

#### Air barrier assemblies shall be capable of accommodating substrate movement and sealing substrate expansion and control joints, construction material changes, and transitions at perimeter conditions without deterioration and air leakage exceeding specified limits, or interruption of the drainage plane.

### ASTM E 2357, Air Leakage of Air Barrier Assemblies:

#### Maximum 0.02 l/s.m² @ 75 Pa (0.004 cfm/ft2 @ 1.57 psf).

### ASTM E 2178, Air Permeance of Building Materials:

#### Maximum 0.02 l/s.m2 @ 75 Pa (0.004 cfm/ft2@ 1.57 psf).

### ASTM E 283, Rate of Air Leakage:

#### Maximum 0.02 l/s•m2 @ 75 Pa (0.004 cfm/ft2 @ 1.57 psf)

### ASTM D 4541, Pull-Off Strength of Coatings:

#### Minimum 110 kPa (15.9 psi) adhesion or substrate failure.

### ASTM E 84, Surface Burning:

#### Flame spread <25

#### Smoke developed < 450.

### ASTM D 1970, Nail Sealability:

#### No water penetration at galvanized roofing nail penetration under 127 mm (5 in) head of water after 3 days at 4 (C  (40(F).

### ASTM E 96 Method A, Water Vapor Transmission:

#### Minimum 0.10 perms.

### ASTM D 2369 Volatile Organic Compounds (VOC):

#### 50 g/L maximum.

### ICC-ES AC 212 Acceptable Criteria for Water-Resistive Coatings used as Water-Resistive Barriers over Exterior Sheathing:

#### Sequential Testing: Structural, Racking, Restrained Environmental Conditioning and Water Penetration:

##### ASTM E1233 Procedure A, Structural: No cracking at joints or interface of flashings

##### ASTM E72 Racking: No cracking at joints or interface of flashings

##### ICC-ES AC 212, Restrained Environmental Conditioning: No cracking at joints or interface of flashings

##### ASTM E331Water Penetration: No water penetration after structural, racking or restrained environmental conditioning, tested for 15 minutes at 137 Pa (2.86 psf).

#### Sequential Testing: Weathering:

##### ICC-ES AC 212, UV Light Exposure: No cracking or bond failure to substrate

##### ICC-ES AC 212, Accelerated Aging: No cracking or bond failure to substrate

##### AATCC 127-1985, Hydrostatic Pressure Test: No water penetration after UV exposure and accelerated aging after 5 hours with 55 cm (21.7 in) of hydrostatic head.

#### Freeze-Thaw:

##### ASTM E2485, Method B: No visible effects (no cracking checking, delamination, or erosion) after 10 cycles when viewed at 5X magnification.

#### Water Resistance (ASTM D 2247): No sign of deleterious effects after 14 days exposure

#### Tensile Bond

##### ASTM C297

###### >103 kPa (15 psi) average, no failure of the lamina after 10 cycles.

###### >103 kPa (15 psi) average, no failure of the lamina after 10 cycles freeze-thaw.

### ICC-ES AC 148 Acceptance Criteria for Flexible Flashing Materials:

#### Sequential Testing: Weathering:

##### UV Light Exposure, ICC-ES AC 148.

###### No visible surface or structural changes when observed under 5X magnification.

##### Accelerated Aging, ICC-ES AC 148.

###### No visible surface or structural changes when observed under 5X magnification.

##### Hydrostatic Pressure Test, AATCC 127-1985,

###### No signs of failure after UV and Accelerated Aging.

#### Peel Adhesion, ASTM D 3330 Method F.

##### All samples meet the minimum requirement of 263 N/mm (1.5 lbs/in).

##### UV Exposure: No visible surface or structural changes when observed under 5X magnification.

##### Accelerated Aging: No visible surface or structural changes when observed under 5X magnification.

##### After Elevated Temperature: No visible surface or structural changes when observed under 5X magnification.

##### After Water Immersion:  No signs of failure after UV and Elevated Temperature Exposure.

#### Nail Sealability after Thermal Cycling, ASTM D1970 (Modified), AAMA 711.

##### No water penetration at galvanized roofing nail penetration under 32 mm (1.25 in) head of water after 24 hours at 4 (C (40(F).

#### Cold Temperature Pliability, ASTM D1970 (Modified), AAMA 711.

##### No cracking after bending around a 25 mm (1 in) mandrel after 2-hour exposure to -18(C (0(F).

#### Tensile Strength after UV Exposure, ASTM D 5034, AAMA 711.

##### All samples meet the minimum requirement of 3.5 N/mm (20 lbs per in).

#### Resistance to Peeling, AAMA 711.

##### No signs of distress or failure after 24 hours of room temperature, 50(C (122(F), 65(C (149(F), and 80(C (176(F).

# PRODUCTS

## MANUFACTURER

### SINGLE SOURCE MANUFACTURER: All materials shall be provided by a single supplier with 20 years history or more in the US.

#### Comply with the Manufacturer’s requirements as necessary to provide the specified warranty.

### PRODUCT QUALITY ASSURANCE PROGRAM: Manufacturer shall be an ISO 9001 registered company.

### ACCEPTABLE MANUFACTURER:

#### SOPREMA, located at: 310 Quadral Dr.; Wadsworth, OH 44281; Tel: 800-356-3521; Tel: 330-334-0066; Website: www.soprema.us.

#### Acceptable Alternate Manufacturers:  _________________________

## FLUID APPLIED, AIR/WATER-RESISTIVE BARRIER

### SOPREMA SOPRASEAL LM 203 fluid applied air/water-resistive barrier.  Maximum thickness 20 mils (.020 in) 0.5 mm in 5-gallon (19 L) pails.

### SOPREMA SOPRASEAL MESH reinforced non-woven polyester fabric, 83 g per sq. m (2.45 oz per sq yd).  4 in (101.5 m) wide by 180 ft (54.8 m) long rolls.

### SOPREMA SOPRASEAL LT (Low Temperature) Additive in one quart (0.95 L) containers.

## AUXILIARY MATERIALS

### SOPREMA SOPRASEAL STICK 1100T, Tri-laminate woven polyethylene film-surfaced, SBS self-adhesive flashing and transition membrane for rough openings and penetrations.  40 mil (1.0 mm) thick, 36 in (0.9 m), by 22.9 ft (75 m) long rolls, or pre-cut rolls.

### SOPREMA SOPRASOLIN HD, aluminum foil surfaced, SBS self-adhesive flashing and transition membrane for rough openings and penetrations.  40 mil (1.0 mm) thick, 39.4 in (1 m), by 32.8 ft (10 m) long rolls, or pre-cut rolls.

### SOPREMA SOPRASEAL STICK PRIMER, 500 g/L VOC, self-adhesive membrane primer for use with SOPRASEAL STICK 1100T and SOPRASOLIN HD.

### SOPREMA ELASTOCOL STICK H2O PRIMER, water-based, 0 g/L VOC, self-adhesive membrane primer for use with SOPRASEAL STICK 1100T and SOPRASOLIN HD.

### Sealant: SOPREMA SOPRASEAL SEALANT, ASTM C920, 19 g/L low VOC, moisture curing polyether sealant approved for application. 10.1 oz (300 ml) or 20 oz (600 ml) sausages.

### Polyurethane Foam Sealant. Approved by manufacturer for compatibility with fluid applied air/water-resistive barrier.

# EXECUTION

## EXAMINATION

### Examination includes visual observations, qualitative analysis, and quantitative testing measures as necessary to ensure conditions remain satisfactory throughout the project.

### The applicator shall not begin work until conditions have been properly examined and determined to be clean, dry, free of releasing agents, paint or other residue or coatings. otherwise, satisfactory to receive specified materials.

### Verify substrate is flat, free of fins or planar irregularities greater than 6.4 mm in 3 m (1/4 inch in 10 ft). Verify that no excess mortar exists on masonry ties, shelf angle and other obstructions.

### Verify concrete is sufficiently cured, visibly dry and free of moisture.

### Verify that masonry joints are stuck flush and filled with mortar.

### Verify that walls are capped to prevent moisture and precipitation from entering the walls during construction.

### Examine conditions by conducting preliminary qualitative peel tests as necessary to ensure satisfactory adhesion.

### The applicator shall examine all substrates including, but not limited to wall sheathing, penetrations, terminations, transitions, and fixtures.

### During the application of specified materials, the applicator shall continue to examine all project conditions to ensure conditions remain satisfactory to complete the specified fluid applied air/water-resistive barrier and associated work.

## PREPARATION

### Before commencing work each day, the applicator shall prepare all substrates to ensure conditions are satisfactory to proceed with the installation of specified materials.  Preparation of substrates includes, but is not limited to, substrate repairs, securement of substrates, eliminating all incompatible materials, and cleaning.

### Protect all surrounding areas and surfaces from damage and staining during application of air/water-resistive barrier.

### Report all unsatisfactory conditions to the General Contractor.

### Where conditions are found to be unsatisfactory, work shall not begin until conditions are made satisfactory to begin work. Commencing of work shall indicate applicator’s acceptance of conditions.

### Protect finished work and adjacent areas throughout the project.

#### Allow at least 2 hours to dry, or more depending upon environmental conditions, before installing the specified cladding.

#### Ensure finished work will not be exposed to precipitation or temperatures below 4°C (40°F) before SOPRASEAL LM 203 has sufficient time to dry.

## WALL AND FLASHING SUBSTRATES

### Wall substrates for fluid applied air/water-resistive barrier & flashings:

#### ASTM C1177, minimum ½ in (12.7 mm), glass-mat gypsum exterior wall sheathing:

##### National Gypsum Gold Bond e2XP™ Extended Exposure Sheathing.

##### GP Gypsum DensGlass™.

##### CertainTeed CerGlasRoc® Sheathing.

##### USG Securock™ Brand Glass-Mat Sheathing.

##### Continental Building Products Weather Defense™ Platinum Sheathing.

##### Temple-Inland GreenGlass® Fiberglass-Faced Gypsum Sheathing.

##### Other Approved ASTM C1177 exterior wall sheathing.

#### ASTM C1325 Type A Exterior Sheathing:

##### USG DUROCK® Brand Cement Board

##### National Gypsum PermaBase® cement-board

##### Other Approved ASTM C1325 Type A Exterior Sheathing

#### Exposure 1 plywood complying with US DOC PS-1 or PS-2 (Grade C-D or Better), or Exposure OSB complying with US DOC PS-2 having a minimum 7/16 in (11.1 mm) thickness.

#### Exterior-grade, water-resistant core, minimum ½ in (12.7 mm) gypsum sheathing complying with ASTM C79/ASTM C1396 Gypsum Sheathing

#### Concrete complying with applicable specification sections and concrete unit masonry.

#### Contact fluid applied air/water-resistive barrier manufacturer for other applicable wall substrates.

### Flashings:

#### All flashings must be installed in accordance with specific design and building code requirements. Where appropriate, end-dams must be provided.

#### Openings must be flashed prior to window/door, HVAC, etc. installation. Windows and openings shall be flashed according to design and building code requirements.

#### Individual windows that are ganged to make multiple units require continuous head flashing and the joints between the units must be fully sealed.

### Kick-out Flashings:

#### Kick-out flashing must be installed leak-proof and angled (min 100°) to allow for proper drainage and water diversion.

### Air Seals:

#### Install between the primary air/water-resistive barrier and other wall components (penetrations, etc.) to maintain continuity of the air barrier system.

## APPLICATION

### General: Apply products in accordance with current application procedures and in accordance with project requirements.

### Fluid-Applied Flashings.

#### Rough Openings, Joints and Fasteners:

##### Pre-cut SOPRASEAL MESH in working lengths to conform to areas to be flashed.

###### Use minimum 4 in wide SOPRASEAL MESH centered on sheathing joints.

###### Provide a minimum 2-1/2 in (63.5 mm) overlap of SOPRASEAL MESH when joining subsequent lengths.

##### Spot-apply a dab of SOPRASEAL LM 202 over sheathing fasteners.

##### Apply a receiving coat of SOPRASEAL LM 203 at all rough openings, sheathing board joints, and at OSB/Plywood knot holes and check cracks.

##### Immediately place and center SOPRASEAL MESH into the wet receiving coat of SOPRASEAL LM 203.

##### A minimum of 2 in (50.8 mm) of saturated SOPRASEAL MESH shall extend beyond all joints and flashing terminations and transitions.

##### Ensure SOPRASEAL MESH is completely saturated with SOPRASEAL LM 203, applied using a roller or brush to prevent wrinkles or fish mouths.

##### For roller, brush, or trowel application, allow SOPRASEAL LM 203 to dry to the touch before applying SOPRASEAL LM 203 to adjacent wall areas.

##### For spray-application it is acceptable to spray-apply over “wet” SOPRASEAL LM 203 when spraying adjacent wall areas.

### Self-Adhesive Flashings:

#### Rough openings and through-wall flashings:

##### Apply SOPRASEAL STICK or ELASTOCOL STICK H2O self-adhesive primer to dry, compatible substrates as required to enhance adhesion of specified flashing materials.

##### Apply primer using brush, roller, or sprayer at the rate published on the product data sheet to dry, compatible substrates as required to enhance adhesion of self-adhesive flashing.

##### Ensure self-adhesive primer is tacky to-the-touch, but not wet.  Primer should not transfer to the fingertips when touched.

##### Conduct adhesion peel tests as necessary to ensure satisfactory adhesion is achieved.

##### Project conditions vary throughout the day.  Monitor changing conditions, monitor the drying time of primers, and monitor the adhesion of the flashing. Adjust primer and flashing membrane application methods as necessary to achieve the desired results.

##### Flash rough openings and through-wall flashings using SOPRASOLIN HD foil-surfaced or SOPRASEAL STICK 1100T tri-laminate film-surfaced, self-adhesive flashing membrane.

##### All inside corners should be covered with a minimum 6 in (150 mm) wide strip of membrane centered on the corner. This membrane must be installed in direct contact with the substrate not leaving any voids under the membrane strip.

##### Install the membrane onto the primed surface by peeling back the release film on the underside and adhering the membrane to the surface.

##### Use a roller recommended by the manufacturer to apply pressure over the entire surface of the membrane to ensure uniform adhesion to substrate.

##### All membrane overlaps shall be at least 2 in (50.8 mm).

##### The upper leading edge of the membrane shall be sealed with sealant at the end of each day when precipitation is anticipated or when the work is expected to be delayed or interrupted by more than one day.

##### Small penetrations (pipes, etc.) should be pre-stripped with a membrane and sealed with sealant.

##### Install all wall flashings in a manner to ensure a continuous seal at construction elements such as foundations, roof and walls as required to prevent air leaks at all wall penetrations and transitions. Refer to detail drawings.

### Gypsum and Cement Board Wall Sheathing:

#### Apply SOPRASEAL LM 203 to specified exterior gypsum sheathing, cement board sheathing and concrete with a 20 mm (3/4”) nap roller, stainless steel trowel, brush or spray gun to a consistent, minimum 10 wet mil thickness that is free of voids and pin holes. A fully loaded roller pad is required to obtain a consistent, minimum 10 wet mil thickness.

### Unit Masonry and Concrete Substrates:

#### For concrete and masonry substrates apply two (2) applications of SOPRASEAL LM 203 at 10 mil each for a total wet film thickness of 20 mils.  Lightweight CMU or other CMU with high porosity may require additional SOPRASEAL LM 203 to produce an acceptable result.

### Plywood and OSB Sheathing Substrates:

#### Apply SOPRASEAL LM 203 to specified plywood and OSB sheathing using a 20 mm (3/4”) nap roller or spray to a consistent, minimum 10 mil wet film thickness. Visually inspect to determine whether the sheathing surface is fully coated and free of voids and pinholes. Repair as required to produce a continuous coating.

#### Apply a second coat of SOPRASEAL LM 203 to produce a total wet film thickness of 20 mils.

### Low Temperature Application:

#### For ambient and substrate temperature conditions down to -4°C (25°F), SOPRASEAL LT (Low Temperature) Additive may be mixed with SOPRASEAL LM 203 to extend work periods.

#### Ensure ambient and substrate temperatures do not fall below -4°C (25°F) before SOPRASEAL LM 203 has dried sufficiently.

##### When applied at a 10-mil wet film thickness, allow approximately 12 hours to dry at 0°C (32°F) and 50% relative humidity (RH).

##### When applied at a 26-mil thickness, allow approximately 18 hours to dry at 0°C (32°F) and 50% (RH).

##### Actual drying time will vary depending on ambient and substrate temperature, humidity, and the ability of the substrate to absorb water.

### Visually inspect the SOPRASEAL LM 203 for voids, pinholes, surface deficiencies, etc. Repair deficiencies and areas that are not intact. Apply additional SOPRASEAL LM 203 as necessary such that SOPRASEAL LM 203 is free of voids, pinholes, etc. All sheathing joints, terminations, inside and outside corners must be reinforced with SOPRASEAL MESH.

## CLEANING AND PROTECTION

### Applicator shall protect air/water-resistive barrier system from damage during application. General Contractor shall make provision to protect air/water-resistive barrier during the remainder of construction period. Repair any damage that may occur after installation in a manner consistent with the scope and intent of this specification.

### Clean spills, stains, and soiling from construction that would be exposed in the completed work using cleaning agents and procedures recommended by manufacturer of affected construction.

### Remove masking materials after installation.

### Clean-up and properly dispose of waste and debris resulting from these operations each day as required to prevent damages and disruptions to operations.

END OF SECTION