SECTION 07 54 19

HYBRID POLYVINYL-CHLORIDE (PVC) AND SBS MODIFIED BITUMEN ROOFING

NOTE:  This guide specification is provided as a guideline and must be modified, as required, by the Designer of Record for each project. This specification is prepared in general accordance with CSI format to be included under Division 7 – Thermal and Moisture Protection.  Additional information is provided.  [delete this paragraph]

Optional information is presented in “blue” font below.  Choose appropriate options, delete, as necessary.  [delete this paragraph]

# GENERAL

## SUMMARY

### Work shall include, but is not limited to, the following:

#### SBS-modified bitumen base ply(s), [heat-welded][cold adhesive-applied][self-adhesive].

#### PVC membrane, fully adhered.

#### PVC membrane flashings, [induction welded][loose laid][fully adhered].

#### All related materials and labor required to complete specified roofing necessary to receive specified manufacturer’s warranty.

## RELATED SECTIONS

### Division 01 00 00 General Requirements

### Division 011000 – Summary of Work

### Division 072200 – Roof Insulation

### Division 072713 – Modified Bituminous Sheet Vapor Retarders

### Division 076200 – Sheet Metal Flashing and Trim

## DEFINITIONS

### ASTM D 1079-Definitions of Term Relating to Roofing and Waterproofing.

### The National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual, Fifth Edition Glossary.

## REFERENCES

### AMERICAN SOCIETY OF CIVIL ENGINEERS - Reference Document ASCE 7, Minimum Design Loads for Buildings and Other Structures.

### AMERICAN STANDARD OF TESTING METHODS (ASTM):

#### ASTM D 41 - Standard Specification for Asphalt Primer Used in Roofing, Damp proofing, and Waterproofing.

#### ASTM D 312- Standard Specification for Asphalt Used in Roofing.

#### ASTM C 920 - Standard Specification for Elastomeric Joint Sealants

#### ASTM D 751 - Standard Test Methods for Coated Fabrics.

#### ASTM D 4434 - Standard for Polyvinyl Chloride Sheet Roofing.

#### ASTM D 2178 - Standard Specification for Asphalt Glass Felt Used in Roofing and Waterproofing.

#### ASTM D 3019 - Standard Specification for Lap Cement Used with Asphalt Roll Roofing, Non-Fibered, Asbestos-Fibered, and Non-Asbestos-Fibered.

#### ASTM D 4601 - Standard Specification for Asphalt-Coated Glass Fiber Base Sheet Used in Roofing.

#### ASTM D 5147 - Standard Test Methods for Sampling and Testing Modified Bituminous Sheet Material.

#### ASTM D 5849 - Standard Test Method for Evaluating Resistance of Modified Bituminous Roofing Membrane to Cyclic Fatigue (Joint Displacement)

#### ASTM D 6162 - Standard Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using a Combination of Polyester and Glass Fiber Reinforcements.

#### ASTM D 6163 - Standard Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using Glass Fiber Reinforcements.

#### ASTM D 6164 - Standard Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using Polyester Reinforcements.

#### ASTM D 7379 - Standard Test Methods for Strength of Modified Bitumen Sheet Material Laps Using Cold Process Adhesive.

#### ASTM E 108 - Standard Test Methods for Fire Tests of Roof Coverings.

#### ASTM E 1980 - Standard Practice for Calculating Solar Reflectance Index of Horizontal and Low-Sloped Opaque Surfaces.

### AMERICAN NATIONAL STANDARDS INSTITUTE (ANSI):

#### ANSI/SPRI FX-1, Standard Field Test Procedure for Determining the Withdrawal Resistance of Roofing Fasteners.

#### ANSI/FM 4474- American National Standard for Evaluating the Simulated Wind Resistance of Roof Assemblies Using Static Positive and/or Negative Differential Pressures.

### CANADIAN GENERAL STANDARDS BOARD (CGSB):

#### CGSB 37-GP 56M- Standard for: Membrane, Modified Bituminous, Prefabricated, and Reinforced for Roofing.

### COOL ROOF RATING COUNCIL (CRRC)

### FACTORY MUTUAL (FM):

#### FM 4450 - Approval Standard - Class I Insulated Steel Roof Decks.

#### FM 4470 - Approval Standard - Class I Roof Covers.

### FLORIDA BUILDING CODE (FBC):

#### 20XX Florida Building Code (FBC).

### INTERNATIONAL CODES COUNCIL (ICC):

#### 20XX International Building Code (IBC).

### NATIONAL ROOFING CONTRACTORS’ ASSOCIATION (NRCA).

### SHEET METAL AND AIR CONDITIONING CONTRACTORS’ NATIONAL ASSOCIATION INC. (SMACNA) Architectural Sheet Metal Manual.

### SINGLE PLY ROOFING INDUSTRY (SPRI)

### UNDERWRITERS LABORATORY (UL):

#### UL 790 Standard Test Methods for Fire Tests of Roof Coverings.

## ACTION SUBMITTALS

### Product Data Sheets: Submit manufacturer’s product data sheets, installation instructions and/or general requirements for each component.

### Quality Compliance (QC)/Certificate of Analysis (COA):  Submit manufacturers QC or COA signed by company’s Quality Department certifying membrane materials meet the specified properties listed in the specification.

### Material Safety Data Sheets: Submit manufacturer’s Safety Data Sheets (SDS) for each component.

### Sample/Specimen Warranty from the manufacturer and contractor.

### Shop Drawings: Provide roof plan and applicable roof system detail drawings.

## INFORMATIONAL SUBMITTALS

### Contractor Certification: Submit written certification from roofing system manufacturer certifying that the applicator is authorized by the manufacturer to install the specified materials and system.

## CLOSEOUT SUBMITTALS

### Warranty: Provide manufacturers and contractor’s warranties upon substantial completion of the roofing system.

## QUALITY ASSURANCE

    - MANUFACTURER QUALIFICATIONS:

#### Manufacturer shall have 20 years of experience manufacturing roofing materials.

#### Trained Technical Field Representatives, employed by the manufacturer, independent of sales.

#### Provide reports in a timely manner of all site visit reports.

#### Provide specified warranty upon satisfactory project completion.

### CONTRACTOR QUALIFICATIONS:

#### Contractor shall be authorized by the manufacturer to install specified materials prior to the bidding period through satisfactory project completion.

#### Applicators shall have completed projects of similar scope using same materials as specified herein.

#### Contractor shall provide full time, on-site superintendent or foreman experienced with the specified roof system through satisfactory project completion.

#### Applicators shall be skilled in the application methods for all materials.

#### Contractor shall maintain a daily record, on-site, documenting material installation and related project conditions.

#### Contractor shall maintain a copy of all submittal documents, on-site, available always for reference.

## DELIVERY, STORAGE AND HANDLING

### Refer to each product data sheet or other published literature for specific requirements.

### Deliver materials and store them in their unopened, original packaging, bearing the manufacturer's name, related standards, and any other specification or reference accepted as standard.

### Protect and store materials in a dry, well-vented, and weatherproof location. Only materials to be used the same day shall be removed from this location. During cold weather, store materials in a heated location, removed only as needed for immediate use.

### When materials are to be stored outdoors, store away from standing water, stacked on raised pallets or dunnage, at least 4 in or more above ground level.  Carefully cover storage with “breathable” tarpaulins to protect materials from precipitation and to prevent exposure to condensation.

### Properly dispose of all product wrappers, pallets, cardboard tubes, scrap, waste, and debris.  All damaged materials shall be removed from job site and replaced with new, suitable materials.

## SITE CONDITIONS

### SAFETY:

#### The contractor shall be responsible for complying with all project-related safety and environmental requirements.

#### Hot-air welding shall include heating the specified membrane ply using electric hot-air welding equipment.  The contractor shall determine when and where conditions are appropriate to utilize hot-air welding equipment.  When conditions are determined by the contractor to be unsafe to proceed, materials and methods shall be utilized to accommodate requirements and conditions.

#### Refer to NRCA CERTA recommendations, local codes and building owner’s requirements for hot work operations.

#### The contractor shall review project conditions and determine when and where conditions are appropriate to utilize the specified liquid-applied, or semi-solid roofing materials.  When conditions are determined by the contractor to be unsafe or undesirable to proceed, measures shall be taken to prevent or eliminate the unsafe or undesirable exposures and conditions, or equivalent approved materials and methods shall be utilized to accommodate requirements and conditions.

#### The contractor shall refer to product Safety Data Sheets (SDS) for health, safety, and environment related hazards, and take all necessary measures and precautions to comply with exposure requirements.

### ENVIRONMENTAL CONDITIONS:

#### Monitor substrate temperature and material temperature, as well as all environmental conditions such as ambient temperature, moisture, sun, cloud cover, wind, humidity, and shade.  Ensure conditions are satisfactory to begin work and ensure conditions remain satisfactory during the installation of specified materials.  Materials and methods shall be adjusted as necessary to accommodate varying project conditions.  Materials shall not be installed when conditions are unacceptable to achieve the specified results.

#### Precipitation and dew point:  Monitor weather to ensure the project environment is dry before, and will remain dry, during the application of roofing materials.   Ensure all roofing materials and substrates remain above the dew point temperature as required to prevent condensation and maintain dry conditions.

#### SBS Cold adhesive:  During cold weather, store the specified membrane adhesive in heated storage areas.  Take all necessary measures and monitor application conditions, to ensure the adhesive is no less than 70(F (21(C) at the point of contact with the membrane.

#### SBS Self-adhesive membrane:  During cold weather, store the specified self-adhesive membrane and primer materials in heated storage areas to ensure materials remain no less than 70(F (21(C) during application.  Ensure conditions allow primer to remain tacky, but not wet so that primer will not transfer to finger when touched. Self-adhesive primer shall not fully dry and lose tack before applying the self-adhesive membrane.  Ensure conditions remain satisfactory to achieve membrane adhesion as specified.

#### SBS Heat-Welding: Take all necessary precautions and measures to monitor conditions to ensure all environmental conditions are safe to proceed with the use of torches and hot-air welding equipment.

#### Combustibles, flammable liquids, and solvent vapors that represent a hazard shall be eliminated. Flammable primers and cleaners shall be fully dry before proceeding with heat-welding operations. Prevent or protect wood, paper, plastics, and other such combustible materials from direct exposure to open flames from roof torches. Refer to NRCA CERTA recommendations.

#### PVC Hot-air Welding: Take all necessary precautions and measures to monitor conditions to ensure all environmental conditions are safe to proceed with the use hot-air welding equipment.   Combustibles, flammable liquids, and solvent vapors that represent a hazard shall be eliminated and primers shall be fully dry before proceeding with hot air welding operations. Refer to NRCA CERTA recommendations.

#### PVC polyurethane foam membrane adhesive: Refer to [DUOTACK SPF HFO][ICP Polyset Commercial Roof Adhesive] published product data sheets.  The ambient and surface temperature shall be between 30(F (-1(C) and 100(F (38(C) during installation.

#### PVC bonding adhesive, solvent-based:  The ambient temperature shall be above 40(F (4.4(C) during adhesive application.  Ensure temperature is well above the dew point temperature to prevent condensation during adhesive application. Allow the adhesive on both surfaces to dry to the touch.  Adhesive may be tacky to-the-touch, but not wet.  Adhesive should not transfer to the fingertips when touched.

## PERFORMANCE REQUIREMENTS

### WIND UPLIFT RESISTANCE:

#### Performance testing shall be in accordance with ANSI/FM 4474, FM 4450, FM 4470, UL 580 or UL 1897.

##### Approval Rating:

###### FM 1-[000]

###### Maximum Design Pressure (MDP) –[000.0] psf

##### Roof System Design Pressures: Calculated in accordance with ASCE 7-[00], or applicable standard, for the specified roof system attachment requirements:

###### Field of Roof (Zone 1’): 	[-00.0 psf].

###### Field of Roof (Zone 1): 	[-00.0 psf].

###### Perimeter of Roof (Zone 2): 	[-00.0 psf].

###### Corners of Roof (Zone 3):	[-00.0 psf].

### FIRE CLASSIFICATION:

      - Performance testing shall be in accordance with UL 790, ASTM E108, FM 4450 or FM 4470 to meet the [00]:12 roof slope requirement.

##### Meets requirements of UL Class A or FM Class [A][B][C].

#### Performance testing shall be in accordance with UL 1256, FM 4450, or FM 4470 to meet the specified requirements for interior flame spread and fuel contribution.

##### Meets requirements of UL 1256, or FM Class 1.

    - ROOF SLOPE:

      - Finished roof slope for hybrid PVC and SBS surfaces shall be [¼]-inch per foot (2 percent) minimum for roof drainage.

### IMPACT RESISTANCE:

#### Performance testing for impact resistance shall be in accordance with FM 4450, FM 4470, or ASTM D4272 to meet the specified impact resistance requirements.

##### Meets requirements for FM-[MH (Moderate Hail][SH (Severe Hail)][Very Severe Hail (VSH)].

### COOL ROOF RATING COUNCIL (CRRC):

#### PVC membrane shall be listed by the Cool Roof Rating Council (CRRC) with the following minimum published values:

##### Solar Reflectance: 			Initial: 0.87	3 Year: 0.67

##### Thermal Emittance: 			Initial: 0.89 	3 Year: 0.89

##### Solar Reflectance Index (SRI): 	Initial: 110 	3 Year: 81

### LEED SUSTAINABLE SITES (SS) CREDITS:

#### SS 7.2, Heat Island Effect-Roof.  Membrane surface shall be bright white:

##### Seventy-five percent of the low-slope (equal to or less than 2:12) roof area shall have an SRI value greater than, or equal to, 78 as published by the Cool Roof Rating Council (CRRC).

##### Seventy-five percent of the steep-slope (greater than 2:12) roof area shall have an SRI value greater than, or equal to, 29 as published by the Cool Roof Rating Council (CRRC).

## WARRANTY

### Manufacturer's No Dollar Limit (NDL) Warranty.  The manufacturer shall provide the owner with the manufacturer’s warranty providing labor and materials to for [10][15][20]-years from the date the warranty is issued.

### The contractor shall guarantee the workmanship and shall provide the owner with the contractor’s warranty covering workmanship for a period of 2 years from completion date.

# PRODUCTS

## MANUFACTURER

### PRODUCT QUALITY ASSURANCE PROGRAM: Manufacturer shall be an ISO 9001 registered company.

### ACCEPTABLE MANUFACTURER:

#### SOPREMA, located at: 310 Quadral Dr.; Wadsworth, OH 44281; Tel: 800-356-3521; Tel: 330-334-0066; Website: www.soprema.us.

#### Acceptable Alternate Manufacturers:  _________________________

## ROOFING SYSTEM

### ROOFING SYSTEM BASIS OF DESIGN: SOPREMA

## HYBRID PVC AND SBS MEMBRANE

### SBS MODIFIED BITUMEN BASE PLY:

#### SBS BASE PLY, HEAT-WELDED:

##### SOPREMA ELASTOPHENE SP 2.2: SBS-modified bitumen membrane with plastic burn-off film on the bottom surface and a sanded top surface. Glass fiber reinforcement. Meets or exceeds ASTM D6163, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 101 lb (45.8 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 62.6 lb (3054g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 100 lbf/in (17.5 kN/m), XMD 90 lbf/in (15.7 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 4%, XMD 4%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 50 lbf/in (8.8 kN/m), XMD 40 lbf/in (7.0 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 5%, XMD 4%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 45%, XMD 45%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 60 lbf (267 N), XMD 60 lbf (267 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C): MD/XMD: 250(F (121(C)

##### SOPREMA ELASTOPHENE SP 3.0: SBS-modified bitumen membrane with plastic burn-off film on the bottom surface and sanded top surface. Glass fiber reinforcement. Meets or exceeds ASTM D6163, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 118 mils (3.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 90 lb (40.8 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 83.6 lb (4082 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 115 lbf/in (20.1 kN/m), XMD 100 lbf/in (17.5 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 4%, XMD 4%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 50 lbf/in (8.8 kN/m), XMD 40 lbf/in (7.0 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 5%, XMD 4%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 60 lbf (267 N), XMD 60 lbf (267 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C):  MD/XMD: 250(F (121(C)

##### SOPREMA SOPRALENE 180 SP 3.0: SBS-modified bitumen membrane with a plastic burn-off film on the bottom surface and a sanded top surface. Non-woven polyester reinforcement. Meets or exceeds ASTM D6164, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 118 mils (3.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 83 lb (37.6 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 77 lb (3758 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

##### SOPREMA SOPRALENE 180 SP 3.5: SBS-modified bitumen membrane with a plastic burn-off film on the bottom surface and a sanded top surface. Non-woven polyester reinforcement. Meets or exceeds ASTM D6164, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 138 mils (3.5 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 95 lb (43.1 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 85 lb (4188 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m).  MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

##### SOPREMA SOPRALENE 250 SP 4.0: SBS-modified bitumen membrane with a plastic burn-off film on the bottom surface and a sanded top surface. Non-woven polyester reinforcement. Meets or exceeds ASTM D6164, Type II, Grade S, per ASTM D5147 test methods:

###### Thickness: 157 mils (4.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 108 lb (49.0 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 100 lb (4882 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m):  MD 160 lbf/in (28.0 kN/m), XMD 110 lbf/in (19.3 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 30%, XMD 35%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 135 lbf/in (23.6 kN/m), XMD 100 lbf/in (17.5 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 70%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 165 lbf (734 N), XMD 120 lbf (534 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

##### SOPREMA ELASTOPHENE FLAM LS FR GR: SBS-modified bitumen membrane Cap Sheet with a burn-off film bottom surface and mineral granule top surface.  Glass fiber reinforced.  UL Class A for low-slope (LS) roof applications, ½:12 or less. Meets or exceeds ASTM D6163, Type I, Grade G, per ASTM D5147 test methods:

###### Thickness: 138 mils (3.5 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 106 lb (48.1 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 98.5 lb (4808 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 95 lbf/in (16.6 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 4%, XMD 4%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 50 lbf/in (8.8 kN/m), XMD 40 lbf/in (7.0 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 5%, XMD 4%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 50%, XMD 50%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 60 lbf (267N), XMD 60 lbf (267N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C): MD/XMD: 250(F (120(C):

###### Granule Surfacing: [White][other] mineral granules.

##### SOPREMA SOPRALENE FLAM 180 FR GR: SBS-modified bitumen membrane Cap Sheet with a burn-off film bottom surface and mineral granule top surface.  Non-woven polyester reinforced.  UL Class A for specified roof slope requirements. Meets or exceeds ASTM D6164, Type I, Grade G, per ASTM D5147 test methods:

###### Thickness: 157 mils (4.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 118 lb (53.5 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 110 lb (5371 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### Granule Surfacing: [White][other] mineral granules.

#### SBS BASE PLY, COLD ADHESIVE/ASPHALT APPLIED:

##### SOPREMA ELASTOPHENE SANDED 2.2: SBS-modified bitumen membrane ply sanded on both top and bottom surfaces. Glass fiber reinforcement. Meets or exceeds ASTM D6163, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 102 lb (46.3 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 63 lb (3074 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 100 lbf/in (17.5 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 4%, XMD 4%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 50 lbf/in (8.8 kN/m), XMD 40 lbf/in (7.0 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 5%, XMD 4%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 45%, XMD 45%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 60 lbf (267 N), XMD 60 lbf (267 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C): MD/XMD: 250(F (121(C)

##### SOPREMA ELASTOPHENE SANDED 3.0: SBS-modified bitumen membrane ply sanded on both top and bottom surfaces. Glass fiber reinforcement. Meets or exceeds ASTM D6163, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 118 mils (3.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 97 lb (44 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 90.1 lb (4400 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 115 lbf/in (20.1 kN/m), XMD 100 lbf/in (17.5 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 4%, XMD 4%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 50 lbf/in (8.8 kN/m), XMD 40 lbf/in (7.0 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 5%, XMD 4%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 60 lbf (267 N), XMD 60 lbf (267 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C): MD/XMD: 250(F (121(C)

##### SOPREMA ELASTOPHENE HR SANDED 2.2: SBS-modified bitumen membrane ply sanded on both top and bottom surfaces.  Glass grid reinforcement. Meets or exceeds ASTM D6163, Type II, Grade S, per ASTM D5147 test methods:

###### Thickness: 87 mils (2.2 mm)

###### Width: 39 in

###### Coverage: 147 square foot per roll.

###### Roll weight: 92 lb (41.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 57 lb (2782 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 185 lbf/in (32.5 kN/m), XMD 165 lbf/in (28.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 6%, XMD 6%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 110 lbf/in (19.4 kN/m), XMD 105 lbf/in (18.5 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 10%, XMD 15%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 45%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 180 lbf (801 N), XMD 190 lbf (845 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

##### SOPREMA ELASTOPHENE HR SANDED 3.0: SBS-modified bitumen membrane ply sanded on both top and bottom surfaces.  Glass grid reinforcement. Meets or exceeds ASTM D6163, Type II, Grade S, per ASTM D5147 test methods:

###### Thickness: 118 mils (3.0 mm)

###### Width: 39 in (1 m)

###### Length: 33 ft (10 m)

###### Roll weight: 88 lb (39.9 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 82 lb (3992 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 185 lbf/in (32.5 kN/m), XMD 165 lbf/in (28.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 6%, XMD 6%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 110 lbf/in (19.4 kN/m), XMD 105 lbf/in (18.5 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 10%, XMD 15%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 45%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 180 lbf (801 N), XMD 190 lbf (845 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C):  MD/XMD: 240(F (116(C)

##### SOPREMA ELASTOPHENE HS FR SANDED: SBS-modified bitumen membrane sanded on both top and bottom surfaces.  Composite glass and non-woven polyester reinforcement. Meets or exceeds ASTM D6162, Type III, Grade S, per ASTM D5147 test methods:

###### Thickness: 118 mils (3.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 75 lb (33.9 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 69 lb (3390 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m):  MD 405 lbf/in (70.8 kN/m), XMD 375 lbf/in (65.6 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 7%, XMD 8%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 290 lbf/in (50.8 kN/m), XMD 285 lbf/in (49.9 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 10%, XMD 10%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 15%, XMD 20%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 540 lbf (2402 N), XMD 550 lbf (2447 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

##### SOPREMA SOPRALENE 180 SANDED 2.2: SBS-modified bitumen membrane sanded on both top and bottom surfaces.   Non-woven polyester reinforcement. Meets or exceeds ASTM D6164, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 97 mils (2.4 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 92 lb (41.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 57 lb (2782 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C):

##### SOPREMA SOPRALENE 180 SANDED: SBS-modified bitumen membrane sanded on both top and bottom surfaces. Non-woven polyester reinforcement. Meets or exceeds ASTM D6164, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 118 mils (3.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 84 lb (38.1 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 78 lb (3808 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m).  MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m):  MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C):

##### SOPREMA SOPRALENE 250 SANDED: SBS-modified bitumen membrane sanded on both top and bottom surfaces.   Non-woven polyester reinforcement. Meets or exceeds ASTM D6164, Type II, Grade S, per ASTM D5147 test methods:

###### Thickness: 157 mils (4.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 108 lb (49.0 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 100 lb (4882 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 160 lbf/in (28.0 kN/m), XMD 110 lbf/in (19.3 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 30%, XMD 35%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 135 lbf/in (23.6 kN/m), XMD 100 lbf/in (17.5 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 70%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 165 lbf (734 N), XMD 120 lbf (534 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

##### SOPREMA ELASTOPHENE LS FR GR: SBS-modified bitumen membrane Cap Sheet with a sanded bottom surface and mineral granule top surface.  Glass fiber reinforced.  UL Class A for low-slope (LS) roof applications. Meets or exceeds ASTM D6163, Type I, Grade G, per ASTM D5147 test methods:

###### Thickness: 138 mils (3.5 mm)

###### Roll width: 39.4 in (1 m)

###### Roll length: 32.8 ft (10 m)

###### Roll weight: 107 lb (48.5 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):98 lb (4853 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 110 lbf/in (19.3 kN/m), XMD 95 lbf/in (16.6 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 4%, XMD 4%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 50 lbf/in (8.8 kN/m), XMD 40 lbf/in (7.0 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 5%, XMD 4%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 50%, XMD 50%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 60 lbf (267N), XMD 60 lbf (267N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C): MD/XMD: 250(F (121(C):

###### Granule Surfacing: [White][other] mineral granules.

##### SOPREMA SOPRALENE 180 FR GR: SBS-modified bitumen membrane Cap Sheet with a sanded bottom surface and mineral granule top surface.  Non-woven polyester reinforced.   UL Class A for specified roof slope requirements. Meets or exceeds ASTM D6164, Type I, Grade G

###### Thickness: 157 mils (4.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 117 lb (53.1 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):109 lb (5322 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### Granule Surfacing: [White][other] mineral granules.

#### SBS BASE PLY, MECHANICALLY FASTENED:

##### SOPREMA SOPRAFIX BASE 622: SBS-modified bitumen membrane ply with plastic burn-off film in side-laps only, and sanded top and bottom surfaces.  Non-woven polyester reinforcement.  Mechanically fastened in 4 in (minimum) heat-welded side-laps.  Base ply for cold adhesive-applied and self-adhered cap sheet applications. Meets or exceeds ASTM D6164, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 110 mils (2.8 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 74 lb (33.6 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):68 lb (3341 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

#### SBS BASE PLY, SELF-ADHESIVE:

##### SOPREMA ELASTOPHENE STICK: SBS-modified bitumen, self-adhesive membrane with release film on the bottom surface and a sanded top surface.  Glass fiber reinforcement. Meets or exceeds ASTM D6163, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 73 lb (33.3 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):45.5 lb (2220 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 100 lbf/in (17.5 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 4%, XMD 4%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 50 lbf/in (8.8 kN/m), XMD 40 lbf/in (7.0 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 5%, XMD 4%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 45%, XMD 45%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 60 lbf (267 N), XMD 60 lbf (267 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C): MD/XMD: 250(F (121(C)

##### SOPREMA SOPRALENE STICK:  SBS-modified bitumen, self-adhesive membrane with release film on the bottom surface and a sanded top surface.  Non-woven polyester reinforced. Meets or exceeds ASTM D6164, Type I, Grade S, per ASTM D5147 test methods:

###### Thickness: 98 mils (2.5 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 103 lb (46.5 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):63 lb (3098 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C):

##### SOPREMA ELASTOPHENE STICK FR GR: SBS-modified bitumen self-adhesive Cap Sheet with release film on the bottom surface and mineral granule top surface.  Glass fiber reinforcement.  UL Class A for specified roof slope requirements. Meets or exceeds ASTM D6163, Type I, Grade G

###### Thickness: 142 mils (3.6 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 93 lb (42.2 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):86.4 lb (4218 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 110 lbf/in (19.3 kN/m), XMD 95 lbf/in (16.6 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 4%, XMD 4%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 50 lbf/in (8.8 kN/m), XMD 40 lbf/in (7.0 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 5%, XMD 4%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 50%, XMD 50%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 60 lbf (267N), XMD 60 lbf (267N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.1%

###### Compound stability, (F ((C): MD/XMD: 250(F (121(C)

###### Granule Surfacing: [White][other] mineral granules.

##### SOPREMA ELASTOPHENE STICK HR FR GR: SBS-modified bitumen self-adhesive Cap Sheet with release film on the bottom surface and mineral granule top surface. UL Class A for specified roof slope requirements. Meets or exceeds ASTM D6164, Type I, Grade G.

###### Thickness: 138 mils (3.5 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 88 lb (40 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):81.4 lb (3972 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m). MD 185 lbf/in (32.5 kN/m), XMD 165 lbf/in (28.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 6%, XMD 6%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 110 lbf/in (19.4 kN/m), XMD 105 lbf/in (18.5 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 10%, XMD 10%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 60%, XMD 45%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 180 lbf (801 N), XMD 190 lbf (845 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %:MD/XMD: Less than 0.1%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### Granule Surfacing: [White][other] mineral granules.

### PVC MEMBRANE:

#### PVC MEMBRANE, FULLY ADHERED:

##### SOPREMA SENTINEL P150 HFB: Polyester reinforced, thermoplastic polyvinyl chloride (PVC) membrane with a heavy fleece back underside.

###### Thickness: 60 mils (1.5 mm)

###### Width: 10 ft (3.0 m)

###### Length: 80 ft (24.4 m)

###### Physical Properties ASTM D4434.

Breaking Strength, lbf/in

5500 (MD) 	400 (XMD)

Elongation at Break %

30 (MD)	30(XMD)

###### Color: [White][Tan][Grey]

##### SOPREMA SENTINEL P200 HFB: Polyester reinforced, thermoplastic polyvinyl chloride (PVC) membrane with a heavy fleece back underside.

###### Thickness: 80 mils (2.0 mm)

###### Width: 10 ft (3.0 m)

###### Length: 65 ft (20 m)

###### Physical Properties ASTM D4434.

Breaking Strength, lbf/in

525 (MD) 	400 (XMD)

Elongation at Break %

25 (MD)	25(XMD)

###### Color: [White][Tan][Grey]

#### PVC FLASHING, FULLY ADHERED:

##### SOPREMA SENTINEL P150: Polyester reinforced, thermoplastic polyvinyl chloride (PVC) membrane with a smooth back underside.

###### Thickness: 60 mils (1.5 mm)

###### Width: 10 ft (3.0 m)

###### Length: 100 ft (30.5 m)

###### Physical Properties ASTM D4434.

Breaking Strength, lbf/in

430 (MD) 	300 (XMD

Elongation at Break %

25 (MD)	25(XMD)

###### Color: [White][Tan][Grey]

##### SOPREMA SENTINEL P200: Polyester reinforced, thermoplastic polyvinyl chloride (PVC) membrane with a smooth back underside.

###### Thickness: 80 mils (2.0 mm)

###### Width: 10 ft (2.1 m)

###### Length: 65 ft (20 m)

###### Physical Properties ASTM D4434.

Breaking Strength, lbf/in

460 (MD) 	330 (XMD

Elongation at Break %

25 (MD)	25(XMD)

###### Color: [White][Tan][Grey]

##### SOPREMA SENTINEL G150: Fiberglass reinforced, thermoplastic polyvinyl chloride (PVC) membrane with a smooth back underside.

###### Thickness: 60 mils (1.5 mm)

###### Width: 10ft (3.0 m)

###### Length: 100 ft (24.4 m)

###### Physical Properties ASTM D4434.

Breaking Strength, lbf/in

100 (MD) 	90 (XMD

Elongation at Break %

275 (MD)	275(XMD)

Tear Strength, lbf

17 (MD)	17 (XMD)

###### Color: [White][Tan][Grey]

##### SOPREMA SENTINEL G200: Fiberglass reinforced, thermoplastic polyvinyl chloride (PVC) membrane with a smooth back underside.

###### Thickness: 80 mils (2.0 mm)

###### Width: 10 ft (3.0 m)

###### Length: 65 ft (20 m)

###### Physical Properties ASTM D4434.

Breaking Strength, lbf/in

100 (MD) 	90 (XMD

Elongation at Break %

275 (MD)	275(XMD)

Tear Strength, lbf

17 (MD)	17 (XMD)

###### Color: [White][Tan][Grey]

## ACCESSORIES

### SBS PRIMERS:

#### SOPREMA ELASTOCOL 350 Primer:  Polymer emulsion primer, meeting low VOC requirements for the preparation of membrane substrates for heat-welded base ply applications.

#### SOPREMA ELASTOCOL 500 Primer:  Asphalt cut-back primer.  Primer for the preparation of membrane substrates for heat-welded base ply applications.

##### Meets or exceeds ASTM D41

##### VOC content:  350 g/L or less.

#### SOPREMA ELASTOCOL STICK ZERO Primer: 0 g/L VOC solvent, self-adhesive membrane primer.  Low VOC, solvent-based primer for the preparation of membrane substrates for self-adhered SBS membrane and self-adhesive SBS flashing applications.

#### SOPREMA ELASTOCOL STICK Primer:  Self-adhesive membrane primer. SBS polymer, resin and, solvent-based primer for the preparation of membrane substrates for self-adhesive SBS membrane and self-adhered SBS flashing applications.

### SBS MEMBRANE ADHESIVE:

#### SOPREMA COLPLY EF ADHESIVE: Premium, non-toxic, low odor, solvent-free, polymeric membrane adhesive for use with all SBS-modified bitumen sanded base ply and all Cap Sheet membrane applications.

##### VOC Content:  32 g/L or less VOC Content.

##### Meets or exceeds ASTM D7379

### PVC MEMBRANE ADHESIVE:

#### SOPREMA® DUOTACK® SPF HFO: Two-component elastomeric polyurethane adhesive.  Formulated to adhere fleece back PVC membranes.

##### VOC Content: 98 g/L or less.

#### ICP POLYSET COMMERCIAL ROOF ADHESIVE:  Two-component elastomeric polyurethane froth adhesive.  Formulated to adhere fleece back PVC membranes.

##### VOC Content: 98 g/L or less.

### PVC FLASHING ADHESIVE:

#### SOPREMA SENTINEL S BONDING ADHESIVE:  Solvent-based adhesive.  Formulated to adhere smooth back PVC flashings.

##### VOC Content: 199.5 g/L or less.

### PVC SEALANT AND MASTIC:

#### SOPREMA SOPRAMASTIC SP1:  General purpose, paintable, gun-grade, elastomeric, polyether moisture curing sealant for sealing SBS membrane terminations, Kynar 500 PVDF, horizontal and vertical construction joints.

##### VOC Content:  20 g/L or less.

##### Meets or exceeds ASTM C920, Type S, Grade NS, Class 50.

##### Color: [standard color][custom color].

#### BUTYL SEALANT TAPE:  Butyl rubber and polyisobutylene water resistant sealant tape for concealed sheet metal joints.

### PVC FLASHING FASTENERS:

#### SOPREMA #14 MP FASTENER:  Membrane base ply fastener.

#### SOPREMA #15 HD FASTENER:  Membrane base ply fastener.

#### SOPREMA #15 EL FASTENER:  Membrane base ply fastener.

#### SOPREMA 2 in SEAM PLATE:  Membrane base ply seam plate.

#### SOPREMA 2.4 in SEAM PLATE:  Membrane base ply seam plate.

#### SOPREMA FLAT TERMINATION BAR

### PVC MEMBRANE ACCESSORIES:

#### SOPREMA MOLDED OUTSIDE CORNER:  Injection Molded Corner

##### Color:  white

#### SOPREMA MOLDED INSIDE CORNER:  Injection Molded Corner

##### Color:  white

#### SOPREMA PREFABRICATED OUTSIDE CORNER:  Prefabricated Outside Corner

##### Color:  white

#### SOPREMA PREFABRICATED INSIDE CORNER:  Prefabricated Inside Corner

##### Color:  white

#### SOPREMA T-JOINT PATCH:  4.5 in Round T-Joint Patch

##### Color:  white

#### SOPREMA SENTINEL PVC PIPE FLASHING:  Prefabricated PVC pipe flashing.

##### Size:  [1 in][2 in][3 in][4 in][5 in][6 in].  Size as required.

##### Color:  white, grey

#### SOPREMA SENTINEL PVC PROFILE BARS:  Simulated metal standing seam profile.

##### Length:  9.84 ft (3 m)

##### Color:  white, grey, copper, silver

#### SOPREMA SENTINEL WALK-WAY PAD:  PVC walkway protection mat.

##### Width:  30 in (0.762 m)

##### Length:  50 ft (15.24 m)

##### Color:  grey

### LIQUID-APPLIED REINFORCED FLASHING SYSTEM:

#### SOPREMA ALSAN RS 230 Flash, Catalyzed polymethyl methacrylate (PMMA) resin with polyester reinforcing fleece fabric fully embedded into the resin to form fully-reinforced waterproofing membrane flashings.  Approved for use with PVC and SBS membranes.

##### VOC Content:  No VOC content.

##### SOPREMA ALSAN RS 230 FLASH:  Polymethyl methacrylate (PMMA) liquid resin.

##### SOPREMA ALSAN RS CATALYST POWDER:  Reactive agent added to the PMMA liquid resin to induce curing.

##### SOPREMA ALSAN RS FLEECE:  Polyester reinforcement fabric.

##### Color:  Flash color and finish to match Field.

#### ALSAN RS CLEANER:  Solvent-based cleaner used to clean PVC and adjacent insitu ALSAN RS surfaces before applying ALSAN RS systems.  VOC content = 900 g/L.

### LIQUID-APPLIED REINFORCED FLASHING SYSTEM:

#### SOPREMA ALSAN RS 260 LO FLASH, Catalyzed polymethacrylate (PMA) resin with polyester reinforcing fleece fabric fully embedded into the resin to form fully-reinforced waterproofing membrane flashings.  Approved for use with PVC and SBS membranes.

##### VOC Content:  No VOC content.

##### SOPREMA ALSAN RS 260 LO FLASH:  Polymethacrylate (PMA) liquid resin.

##### SOPREMA ALSAN RS CATALYST POWDER:  Reactive agent added to the PMMA liquid resin to induce curing.

##### SOPREMA ALSAN RS FLEECE:  Polyester reinforcement fabric.

##### Color:  Flash color and finish to match Field.

#### ALSAN RS CLEANER:  Solvent-based cleaner used to clean PVC and adjacent insitu ALSAN RS surfaces before applying ALSAN RS systems.  VOC content = 900 g/L.

### SHEET METAL FLASHING:

#### Contractor shall furnish all sheet metal flashings, counter flashings, roof edge system, and all other related sheet metal flashings and associated fasteners necessary to flash and counter flash the specified roofing system.

#### Sheet metal flashing materials and fasteners shall be compatible with adjacent materials, to accommodate all project related exposures.

#### Vinyl Coated Metal:  24 gauge galvanized sheet steel with a 20 mil, UV-resistant PVC coated topside.

##### SOPREMA SENTINEL VINYL COATED METAL:  PVC coated metal.

###### Width:  4 ft (1.219 m)

###### Length:  10 ft (3.048 m)

###### Color:  white

##### SOPREMA COPPERART VINYL COATED METAL:  PVC coated metal.

###### Width:  3.28 ft (1 m)

###### Length:  9.84 ft (3 m)

###### Color:  copper

##### SOPREMA SILVERART VINYL COATED METAL:  PVC coated metal.

###### Width:  3.28 ft (1 m)

###### Length:  9.84 ft (3 m)

###### Color:  silver

#### Pre-Finished (Mill Finished) Sheet Metal Flashing Material: [Aluminum][Galvanized Steel][Stainless Steel][Copper].

#### Roof Edge System:  Tested per ANSI/SPRI ES-1 to meet or exceed design pressures at roof edge.

# EXECUTION

## EXAMINATION

### Examination includes visual observations, qualitative analysis, and quantitative testing measures as necessary to ensure conditions remain satisfactory throughout the project.

### The contractor shall examine all roofing substrates including, but not limited to: insulation materials, roof decks, walls, curbs, rooftop equipment, fixtures, and wood blocking.

### The applicator shall not begin installation until conditions have been properly examined and determined to be clean, dry and, otherwise satisfactory to receive specified roofing materials.

### During the application of specified materials, the applicator shall continue to examine all project conditions to ensure conditions remain satisfactory to complete the specified roofing system.

## PREPARATION

### Before commencing work each day, the contractor shall prepare all roofing substrates to ensure conditions are satisfactory to proceed with the installation of specified roofing materials.  Preparation of substrates includes, but is not limited to, substrate repairs, securement of substrates, eliminating all incompatible materials, and cleaning.

### Where conditions are found to be unsatisfactory, work shall not begin until conditions are made satisfactory to begin work. Commencing of work shall indicate contractor’s acceptance of conditions.

### Before the application of PVC, prepare all surfaces to ensure bare PVC does not come in direct contact with exposed SBS modified bitumen, SBS primers, SBS adhesives, cements, and all other asphalt-based products.  Ensure the specified separation is maintained.

## SBS PRIMER APPLICATION

### Examine all substrates, and conduct adhesion peel tests as necessary, to ensure satisfactory adhesion is achieved.

### Apply the appropriate specified primer to dry, compatible substrates as required to enhance adhesion of new specified roofing materials.

### Apply primer using brush, roller, or sprayer at the rate published on the product data sheet. Lightly prime for uniform coverage, do not apply heavy or thick coats of primer.

### Heat-welded base ply primer: Apply (SOPREMA ELASTOCOL 500 or SOPREMA ELASTOCOL 350) primer to dry compatible masonry, metal, wood and other required substrates before applying heat-welded membrane plies.  Refer to product data sheets.

### Self-Adhesive Membrane Primer: Apply (SOPREMA ELASTOCOL STICK or SOPREMA ELASTOCOL STICK ZERO) to dry, compatible substrates as required to enhance adhesion of self-adhesive membrane plies.  Ensure self-adhered membrane primer is tacky to-the-touch, but not wet.  Primer should not transfer to the fingertips when touched.

### Primer is not required for SOPREMA COLPLY EF ADHESIVE.

### Project conditions vary throughout the day.  Monitor changing conditions, monitor the drying time of primers, and monitor the adhesion of the membrane plies.  Adjust primer and membrane application methods as necessary to achieve the desired results.

### Ensure primers do not come in contact with PVC membrane and flashings.

## SBS HEAT WELDING

### The Contractor is responsible for project safety.  Where conditions are deemed unsafe to use open flames, manufacturer’s alternate membrane application methods shall be used to install SBS modified bitumen base ply. Acceptable alternate installation methods include SOPREMA COLPLY EF cold adhesive-applied and self-adhered base plies.  Hot-air welding equipment may be used in lieu of roof torches to seal membrane side and end laps where heat welding the laps is necessary.   Refer to NRCA CERTA, local codes and building owner’s requirements for hot work operations.

### Single or multi-nozzle, hand-held propane roof torches shall be used to install heat-welded plies. Multi-nozzle carts (dragon wagons) may also be utilized to install membrane plies.  Seven (7) nozzle carts are recommended for more uniform heat application in lieu of five (5) nozzle carts.

## SBS HEAT-WELDED BASE PLY APPLICATION

### Follow material product data sheets and published general requirements for installation instructions.

### Ensure environmental conditions are safe and satisfactory, and will remain safe and satisfactory, during the application of the heat-welded membrane and flashings.

### Ensure all SBS primers are fully dry before beginning heat-welding operations.

### Unroll membrane onto the roof surface and allow time to relax prior to heat welding.

### Starting at the low point of the roof, lay out the membrane to ensure the plies are installed perpendicular to the roof slope, shingled to prevent back-water laps.

### Ensure all substrates are prepared and acceptable to receive the heat-welded membrane.

### Cut membrane to working lengths and widths to conform to rooftop conditions and lay out to always work to a selvage edge.

### Ensure specified side-laps and end-laps are maintained.  End-laps should be staggered 3 ft apart.

### Direct roof torch on the roll as necessary to prevent overheating and damaging the membrane and substrates.

### As the membrane is unrolled, apply heat to the underside of the membrane until the plastic burn-off film melts away.  Continuously move the torch side-to-side across the underside of the roll to melt the bitumen on the underside of the sheet, while continuously unrolling membrane.

### While unrolling and heating the sheet, ensure approximately ¼ to 1/2 in of hot bitumen flows ahead of the roll as it is unrolled, and there is 1/8 to 1/4 in bleed out at all laps.

### Adjust the application of heat to the underside of the membrane and to substrate as required for varying substrates and environmental conditions.

### At the 6 in end-laps, embed granules where present, using a torch or hot-air welder.

### At end-laps where T-Joints exist, cut a 45-degree dog-ear away from the selvage edge.

### Each day, physically inspect all side and end-laps, and ensure the membrane is sealed watertight.  Where necessary, use a torch or hot-air welder and a clean trowel to ensure all laps are fully sealed.

### Inspect the installation each day to ensure the plies are fully adhered.  Repair all voids, wrinkles, open laps, and all other deficiencies.

## MECHANICALLY FASTENED SOPRAFIX BASE PLY APPLICATION:

### Refer to agency approvals for fastening and other system requirements.

### Mechanically fastened membrane base ply installation:

#### Follow product data sheets and published detail requirements for additional installation instructions.

#### Ensure environmental conditions are satisfactory, and will remain satisfactory, during the application.

#### Unroll the sheet onto the roof surface and allow time to relax before fastening as necessary to prevent wrinkling once fastened.

#### Starting at the low point of the roof, lay out the membrane to ensure the plies are installed perpendicular to the roof slope, shingled to prevent back-water laps.

#### Remove all wrinkles from the sheet.

#### Ensure all roofing and flashing substrates are prepared and acceptable to receive the mechanically fastened membrane.

#### Ensure the specified side-lap and end-lap widths are maintained.  End-laps should be staggered 3 ft. apart.

#### Unroll the first roll onto the roof substrate, re-roll the adjacent roll.

#### Starting at one end of the sheet, install the mechanical fasteners along the center of the side-lap.  Ensure spacing between fasteners in the laps meets specified wind uplift resistance requirements.

#### Do not over-drive fasteners.  Install fasteners as necessary to firmly set the fastener and seam plate tight against the sheet.  Prevent wrinkles from forming in the sheet as the fasteners are installed.

#### At the end of the sheet where it terminates at roof edges, walls, and curbs, fasten the end-laps to the deck 12 in on-centers or less.

#### When the side-lap is fastened, un-roll the adjacent roll over the fasteners. Maintain the required side-lap width.

#### Ensure the full side-lap width, and all 6 in end-laps, are sealed water-tight.

#### For heat-welded side-laps using a torch, ensure the substrate is satisfactory for torch application.  Apply heat within the side-lap while unrolling the membrane.  Apply heat until the bitumen melts to ensure full adhesion. Ensure a continuous weld is produced across the full side-lap width.

#### For hot-air welded side-laps, insert the hot-air welder shoe within the lap, and adjust the hot-air welder as required to produce a continuous weld across the full lap width.

#### While heat-welding the membrane side-laps, ensure approximately 1/8 to ¼ in bleed-out is achieved at laps.

#### Adjust the application of heat to the underside of the membrane and to substrate as required for varying substrates and environmental conditions.

#### For self-adhesive side-laps, remove the release film on the underside of the membrane while immediately following with a steel roller.  Immediately heat-weld all 6 in end-laps, and fully seal all T-joints.

#### At end-laps, cut a 45-degree dog-ear away from the selvage edge.

#### Each day, physically inspect all side and end-laps, and ensure the membrane is sealed watertight.  Where necessary, use a torch or hot-air welder and a clean trowel to ensure all laps are fully sealed.

#### Inspect the mechanically fastened base ply each day to ensure the plies are watertight.  Repair all un-adhered voids, wrinkles, open laps and all other deficiencies before installing the PVC membrane over completed fastened base ply sheet.

## SBS SELF-ADHESIVE BASE PLY APPLICATION

### Follow material product data sheets and published general requirements for installation instructions.

### Ensure environmental conditions are satisfactory, and will remain satisfactory, during the application of the self-adhesive membrane.

### Unroll membrane onto the prepared roof surface and allow time to relax prior to installing the membrane.

### Starting at the low point of the roof, lay out the membrane to ensure the plies are installed perpendicular to the roof slope, shingled to prevent back-water laps.

### Ensure all roofing substrates are prepared and acceptable to receive the self-adhesive membrane.

### Ensure primer is tacky to-the-touch, but not wet.  Primer should not transfer to the fingertips when touched.  Do not proceed if primer is wet or becomes fully dry and dirty.  If primer becomes fully dry, dirty and loses all tack, re-prime the substrate as necessary to achieve membrane adhesion.

### Cut rolls to working lengths and widths to conform to rooftop conditions and lay out to always work to a selvage edge.

### Ensure membrane side-laps and end-laps are maintained.

### Peel the release film from the underside of the membrane. Press and adhere the leading edge of the membrane to the substrate but leaving the 6 in end-lap un-adhered in order to heat weld the end-lap.

### As the release film is peeled away, use a weighted roller to firmly set the sheet in place.  Ensure full contact is made between the ply and the substrate for full adhesion.  Use a hand-roller to roll-in vertical flashings and confined areas to firmly apply pressure.

### Seal all 6 in base ply end-laps using a roof torch or hot-air welder or adhere using specified cold adhesive. Embed granules where present using a torch or hot-air welder.

### At 6 in end-laps, cut a 45-degree dog-ear away from the 3 in selvage edge.

### Offset self-adhered end-laps 3 ft.

### Each day, physically inspect all side and end-laps, and ensure the membrane is watertight.  Where necessary, use a torch or hot-air welder and a clean trowel to ensure all laps are fully sealed.

### Inspect the installation each day to ensure the base ply is fully adhered.  Repair all un-adhered voids, wrinkles, open laps, and all other deficiencies.

## SBS COLD ADHESIVE-APPLIED BASE PLY APPLICATION

### Follow material product data sheets and published general requirements for installation instructions.

### The ambient temperature shall be above 50(F (10(C), and the adhesive temperature shall be a minimum of 70(F (21(C) at the point of membrane application.

### To ensure the adhesive is applied at 70(F (21(C), during cold weather, drums and 5-gallon pails shall be stored in heated areas.

### SOPREMA COLPLY EF ADHESIVE may be applied using a 3/16 – 3/8-inch notched squeegee or brush.  SOPREMA COLPLY EF ADHESIVE is not spray-applied.

### Apply adhesive to clean, dry, and prepared compatible substrates as required to ensure full adhesion.

### Apply a uniform application of membrane adhesive at the application rate published on the product data sheet.

### Apply 1-1/2 to 2-1/2 gallons per square between membrane plies.  The application rate is 3 to 4 gallons per square or more over absorptive substrates and over granule surfaces.  Refer to manufacturer’s product data sheet and adjust application rate based upon surface conditions.

### Install the SBS membrane ply before the adhesive begins to skin over.  Once adhesive skins over, the membrane ply will not adhere.

## PVC MEMBRANE APPLICATION (DUOTACK SPF HFO)

### Follow material product data sheets and published general requirements for installation instructions.

### Refer to DUOTACK SPF HFO published product data sheets.  The ambient and surface temperature shall be between 30(F (-1(C) and 100(F (38(C) during installation.

### DUOTACK SPF HFO shall be applied to the SBS modified bitumen base ply or cap sheet in the suggested “Spatter Pattern” indicated in manufacturer’s published product data sheets.

### Apply adhesive from spray nozzle located 2 to 3 feet above the roof surface using a sweeping motion from side to side to evenly distribute the adhesive at approximately 3,000 square feet (30 squares) per adhesive kit.

### Apply adhesive to prevent contact between bare PVC side-laps and the adhesive.

### Refer to published literature for recommended adhesive “set” time before applying membrane.  Monitor changing environmental conditions to ensure satisfactory results as adhesive set time varies with environmental conditions.

### Unroll the PVC membrane into the adhesive so only the fleece makes contact with adhesive.  Prevent contact between bare side laps and adhesive.

### Unroll the PVC to prevent wrinkles, and apply pressure using a roller or push broom to ensure complete adhesion between the fleece underside and the adhesive.

### End-laps shall be butted, and a 6 in wide PVC membrane cover-strip shall be welded over the butted end joint.

### SOPREMA T-JOINT PATCHES shall be hot-air welded to the membrane at all T-joint intersections.  Chamfer the welding seam prior to installing T-JOINT PATCHES using an edging tool or by heating the edge and rolling.

### Hot-air weld all side and end-laps with minimum 1-1/2 in welds.

### At PVC terminations at roof edges, walls and curbs, fasten the perimeter edge of the membrane with appropriate fasteners, seam plates or flat termination bars to the horizontal deck or vertical substrate along the termination.

### Fasten membrane termination 12 in on-centers maximum along membrane terminations.  Locate the edge of the fastener plate 1 in or more back from the edge of the membrane.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered.

## PVC MEMBRANE APPLICATION (ICP POLYSET COMMERCIAL ROOF ADHESIVE)

### Follow material product data sheets and published general requirements for installation instructions.

### Refer to ICP Polyset Commercial Roof Adhesive published product data sheets.  The ambient and surface temperature shall be between 30(F (-1(C) and 100(F (38(C) during installation.

### ICP Polyset Commercial Roof Adhesive shall be applied to the SBS modified bitumen base ply or cap sheet in the suggested “Spatter Pattern” indicated in manufacturer’s published product data sheets.

### Apply adhesive from spray nozzle located 2 to 3 feet above the roof surface using a sweeping motion from side to side to evenly distribute the adhesive at approximately 3,000 square feet (30 squares) per adhesive kit.

### Apply adhesive to prevent contact between bare PVC side-laps and the adhesive.

### Refer to published literature for recommended adhesive “set” time before applying membrane.  Monitor changing environmental conditions to ensure satisfactory results as adhesive set time varies with environmental conditions.

### Unroll the PVC membrane into the adhesive so only the fleece makes contact with adhesive.  Prevent contact between bare side laps and adhesive.

### Unroll the PVC to prevent wrinkles, and apply pressure using a roller or push broom to ensure complete adhesion between the fleece underside and the adhesive.

### End-laps shall be butted, and a 6 in wide PVC membrane cover-strip shall be welded over the butted end joint.

### SOPREMA T-JOINT PATCHES shall be hot-air welded to the membrane at all T-joint intersections.  Chamfer the welding seam prior to installing T-JOINT PATCHES using an edging tool or by heating the edge and rolling.

### Hot-air weld all side and end-laps with minimum 1-1/2 in welds.

### At PVC terminations at roof edges, walls and curbs, fasten the perimeter edge of the membrane with appropriate fasteners, seam plates or flat termination bars to the horizontal deck or vertical substrate along the termination.

### Fasten membrane termination 12 in on-centers maximum along membrane terminations.  Locate the edge of the fastener plate 1 in or more back from the edge of the membrane.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered

## PVC FLASHING MEMBRANE APPLICATION (SENTINEL S BONDING ADHESIVE)

### Follow material product data sheets and published general requirements for installation instructions.

### Ensure field membrane is fastened and secure to the substrate at all membrane terminations before PVC flashing is installed.

### Ensure PVC membrane and substrates are dry, clean, and free of asphalt and all bitumen-based products. Do not allow bare PVC to come in contact with asphalt or bitumen-based products.

### Where required, cover walls and other flashing substrates using specified wood, gypsum or cement roof boards securely fastened in place.

### The ambient temperature shall be above 40(F (4.4(C) during adhesive application.  Ensure temperature is well above the dew point temperature to prevent condensation during adhesive application.

### Apply SOPREMA SENTINEL S BONDING ADHESIVE using 3/8 in nap solvent resistant rollers to clean, dry and prepared flashing substrates, and onto the underside of the bare PVC membrane.  Refer to product data sheet for application rate.

### Prevent adhesive from contacting the membrane at the side and end-laps that are to be hot-air welded.

### Allow the adhesive on both surfaces to dry to the touch.  Adhesive may be tacky to-the-touch, but not wet.  Adhesive should not transfer to the fingertips when touched.

### Mate the PVC flashing membrane to the flashing substrate.  Prevent air entrapment and wrinkles. Apply pressure with hands, roller, or broom to ensure complete adhesion.

### Hot air weld all laps with minimum 1-1/2 in welds.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered

### Fasten top leading edge of vertical PVC flashings.  Refer to detail drawings.

## PVC HOT-AIR WELDING

### The Contractor is responsible for project safety.  Refer to NRCA CERTA, local codes and building owner’s requirements for applicable hot work precautions.

### Hot-air welding shall be used to seal PVC flashings and membrane side-laps and end joints watertight.

### An automatic welding machine or hand welder shall be used to weld continuous minimum 1-1/2 in welds.

### Position the membrane so that it overlaps the adjacent membrane at the required side-lap width.  Ensure the side-laps are dry, clean, and free of foreign material.

### At end-laps of bare PVC membranes, round the corners by cutting a radius on both corners.

### SOPREMA T-JOINT PATCHES shall be hot-air welded to the membrane at all T-joint intersections.  Chamfer the welding seam prior to installing T-JOINT PATCHES using an edging tool or by heating the edge and rolling.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered

## LIQUID-APPLIED, [ALSAN RS 230 PMMA MEMBRANE AND FLASHING SYSTEM APPLICATION][ALSAN RS 260 LO (PMA) MEMBRANE AND FLASHING SYSTEM APPLICATION]

### Refer to manufacturer’s details drawings, product data sheets and published general requirements for application rates and specific installation instructions.

### PVC membrane preparation:

#### Ensure the PVC field membrane is fastened and secure to the substrate at all membrane terminations before liquid-applied flashing is installed.

#### Install a welded PVC cover-strip over fasteners where applicable.

#### Ensure cover-strip is welded tight, with no loose ends or open laps.

#### Ensure PVC membrane and substrates are dry, clean, and free of asphalt and all bitumen-based products. Do not allow bare PVC to come in contact with asphalt or bitumen-based products.

#### Lightly abrade the PVC membrane surface where liquid-applied membrane is to be applied.

#### Wipe PVC membrane surface clean using ALSAN RS CLEANER and allow too fully dry.

### Pre-cut SOPREMA ALSAN RS FLEECE polyester reinforcing fleece to conform to roof terminations, transitions and penetrations being flashed.  Ensure a minimum 2 in overlap of fleece at side and end-laps. Ensure the completed liquid-applied flashing membrane is fully reinforced.

### Apply the base coat of catalyzed SOPREMA ALSAN RS resin onto the substrate using a brush or roller, working the material into the surface for complete coverage and full adhesion.

### Immediately apply the SOPREMA ALSAN RS FLEECE reinforcing into the wet base coat of resin.  Using a brush or roller, work the SOPREMA ALSAN RS FLEECE reinforcing fabric into the wet resin while applying the second coat of catalyzed SOPREMA ALSAN RS resin to completely encapsulate the fleece.

### Refer to reinforced, [polymethyl-methacrylate (PMMA)][polymethacrylate (PMA)] specification section and application instructions, details drawings, product data sheets and published general requirements for complete installation instructions.

## SHEET METAL FLASHING APPLICATION

### Ensure bare PVC and PVC clad metal does not come in direct contact with SBS and bitumen products.

### Refer to sheet metal flashing detail drawings and follow product data sheets and published general requirements for installation instructions.

### Follow the most recent edition of the SMACNA Architectural Sheet Metal Manual for fabrication and installation requirements.

## WALKWAYS

### At areas outlined on the drawings, and around the perimeter of all rooftop equipment and at all door and stair landings, install walkway protection.

### Cut walkway from end of SOPREMA SENTINEL WALK-WAY PAD.

### Adhere the center of walkway to the membrane.  Mate the membrane to the substrate avoiding any air entrapment or wrinkles.  Apply pressure with a roller or push broom to ensure complete bonding.

### Hot-air weld the entire perimeter of the SOPREMA SENTINEL WALK-WAY PAD to the membrane.

## CLEAN-UP

### Clean-up and properly dispose of waste and debris resulting from these operations each day as required to prevent damages and disruptions to operations.

END OF SECTION