SECTION 07 55 52

MODIFIED BITUMINOUS PROTECTED MEMBRANE WATERPROOFING

NOTE:  This guide specification is provided as a guideline and must be modified, as required, by the Designer of Record for each project. This specification is prepared in general accordance with CSI format to be included under Division 7 – Thermal and Moisture Protection.  Additional information is provided.  [delete this paragraph]

Optional information to consider is presented in “blue” font below.  Choose appropriate options and delete any information deemed appropriate for each individual project.   [delete this paragraph]

# GENERAL

## SUMMARY

### Work shall include, but is not limited to, the following:

#### Preparation of [existing][new)][concrete][steel][wood][gypsum][cementitious wood fiber] deck, and all flashing substrates.

#### Anchor/Base Sheet mechanically fastened.

#### SBS-modified bitumen base ply(s), [heat-welded][cold adhesive-applied][self-adhesive].

#### SBS-modified bitumen cap sheet, [heat-welded][cold adhesive-applied].

#### SBS-modified bitumen membrane flashings.

#### Liquid-applied, reinforced flashings.

#### Refer to related Sections for [Vapor Retarders][Insulation][Coverboard][Overburden][Edge Systems]

#### All related materials and labor required to complete specified waterproofing necessary to receive specified manufacturer’s warranty.

## RELATED SECTIONS

### Division 010000 – General Requirements

### Division 011000 – Summary of Work

### Division 072200 – Roof Insulation

### Division 072713 – Modified Bituminous Sheet Vapor Retarders

### Division 073363 – Vegetated Roofing

### Division 076200 – Sheet Metal Flashing and Trim

## DEFINITIONS

### ASTM D 1079-Definitions of Term Relating to Roofing and Waterproofing.

### The National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual, Fifth Edition Glossary.

## REFERENCES

### AMERICAN SOCIETY OF CIVIL ENGINEERS - Reference Document ASCE 7, Minimum Design Loads for Buildings and Other Structures.

### AMERICAN STANDARD OF TESTING METHODS (ASTM):

#### ASTM C 836 - Standard Specification for High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane for Use with Separate Wearing Course.

#### ASTM C 920 - Standard Specification for Elastomeric Joint Sealants

#### ASTM D 41 - Standard Specification for Asphalt Primer Used in Roofing, Damp proofing, and Waterproofing.

#### ASTM D 3019 - Standard Specification for Lap Cement Used with Asphalt Roll Roofing, Non-Fibered, Asbestos-Fibered, and Non-Asbestos-Fibered.

#### ASTM D 3746 - Standard Test Method for Impact Resistance of Bituminous Roofing System.

#### ASTM D 4586 - Standard Specification for Asphalt Roof Cement, Asbestos-Free.

#### ASTM D 4601 - Standard Specification for Asphalt-Coated Glass Fiber Base Sheet Used in Roofing.

#### ASTM D 5147 - Standard Test Methods for Sampling and Testing Modified Bituminous Sheet Material.

#### ASTM D 5385 - Standard Test Method for Hydrostatic Pressure Resistance of Waterproofing Membranes.

#### ASTM D 5849 - Standard Test Method for Evaluating Resistance of Modified Bituminous Roofing Membrane to Cyclic Fatigue (Joint Displacement)

#### ASTM D 6162 - Standard Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using a Combination of Polyester and Glass Fiber Reinforcements.

#### ASTM D 6163 - Standard Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using Glass Fiber Reinforcements.

#### ASTM D 6164 - Standard Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using Polyester Reinforcements.

#### ASTM D 7379 - Standard Test Methods for Strength of Modified Bitumen Sheet Material Laps Using Cold Process Adhesive.

#### ASTM E 108 - Standard Test Methods for Fire Tests of Roof Coverings.

### AMERICAN NATIONAL STANDARDS INSTITUTE (ANSI):

#### ANSI/SPRI/FM 4435/ES-1 Wind Design Standard for Edge System Used with Low Slope Roofing System.

#### ANSI/SPRI FX-1, Standard Field Test Procedure for Determining the Withdrawal Resistance of Roofing Fasteners.

#### ANSI/SPRI IA-1, Standard Field Test Procedure for Determining the Mechanical Uplift Resistance of Insulation Adhesives over Various Substrates.

#### ANSI/FM 4474- American National Standard for Evaluating the Simulated Wind Resistance of Roof Assemblies Using Static Positive and/or Negative Differential Pressures.

### CANADIAN GENERAL STANDARDS BOARD (CGSB):

#### CGSB 37-GP 56M- Standard for: Modified Bituminous, Prefabricated, and Reinforced for Roofing.

### FACTORY MUTUAL (FM):

#### FM 4450 - Approval Standard - Class I Insulated Steel Roof Decks.

#### FM 4470 - Approval Standard - Class I Roof Covers.

### FLORIDA BUILDING CODE (FBC):

#### 20XX Florida Building Code (FBC).

### INTERNATIONAL CODES COUNCIL (ICC):

#### 20XX International Building Code (IBC).

### NATIONAL ROOFING CONTRACTORS’ ASSOCIATION (NRCA).

#### UL 790 Standard Test Methods for Fire Tests of Roof Coverings.

#### UL 1256 – Fire Test of Roof Deck Constructions.

## ACTION SUBMITTALS

### Product Data Sheets: Submit manufacturer’s product data sheets, installation instructions and/or general requirements for each component.

### Safety Data Sheets: Submit manufacturer’s Safety Data Sheets (SDS) for each component.

### Sample warranty from the manufacturer and contractor.

### Provide roof plan and representative detail drawings.

## INFORMATIONAL SUBMITTALS

### Submit a letter from the waterproofing manufacturer indicating the contractor is an authorized applicator.

## CLOSEOUT SUBMITTALS

### Warranty: Provide manufacturers and contractor’s warranties upon project completion.

## QUALITY ASSURANCE

### MANUFACTURER QUALIFICATIONS:

#### Manufacturer shall have 20 years of manufacturing experience.

#### Manufacturer shall have trained technical service representatives employed by the manufacturer, independent of sales.

#### Manufacturer shall provide site visit reports in a timely manner.

### CONTRACTOR QUALIFICATIONS:

#### Contractor shall be authorized by the manufacturer to install specified materials prior to the bidding period through satisfactory project completion.

#### Applicators shall have completed projects of similar scope using same or similar materials specified.

#### Contractor shall provide full time, on-site superintendent or foreman experienced with the specified waterproofing from beginning through satisfactory project completion.

#### Applicators shall be skilled in the application methods for all materials.

#### Contractor shall maintain a daily record, on-site, documenting material installation and related project conditions.

#### Contractor shall maintain a copy of all submittal documents, on-site, available always for reference.

## DELIVERY, STORAGE AND HANDLING

### Refer to each product data sheet or other published literature for specific requirements.

### Deliver materials and store them in their unopened, original packaging, bearing the manufacturer's name, related standards, and any other specification or reference accepted as standard.

### Protect and store materials in a dry, well-vented, and weatherproof location. Only materials to be used the same day shall be removed from this location. During cold weather, store materials in a heated location, removed only as needed for immediate use.

### When materials are to be stored outdoors, store away from standing water, stacked on raised pallets or dunnage, at least 4 in or more above ground level.  Carefully cover storage with “breathable” tarpaulins to protect materials from precipitation and to prevent exposure to condensation.

### Carefully store waterproofing membrane materials delivered in rolls on-end with selvage edges up.  Store and protect roll storage to prevent damage.

### Properly dispose of all product wrappers, pallets, cardboard tubes, scrap, waste, and debris.  All damaged materials shall be removed from job site and replaced with new, suitable materials.

## SITE CONDITIONS

### SAFETY:

#### The contractor shall be responsible for complying with all project-related safety and environmental requirements.

#### Heat-welding shall include heating the specified membrane ply using propane roof torches or electric hot-air welding equipment.  The contractor shall determine when and where conditions are appropriate to utilize heat-welding equipment.  When conditions are determined by the contractor to be unsafe to proceed, equivalent SBS-modified bitumen materials and methods shall be utilized to accommodate requirements and conditions.

#### Refer to NRCA CERTA recommendations, local codes and building owner’s requirements for hot work operations.

#### The contractor shall review project conditions and determine when and where conditions are appropriate to utilize the specified liquid-applied, or semi-solid waterproofing materials.  When conditions are determined by the contractor to be unsafe or undesirable to proceed, measures shall be taken to prevent or eliminate the unsafe or undesirable exposures and conditions, or equivalent approved materials and methods shall be utilized to accommodate requirements and conditions.

#### The contractor shall refer to product Safety Data Sheets (SDS) for health, safety, and environment related hazards, and take all necessary measures and precautions to comply with exposure requirements.

### ENVIRONMENTAL CONDITIONS:

#### Monitor substrate temperature and material temperature, as well as all environmental conditions such as ambient temperature, moisture, sun, cloud cover, wind, humidity, and shade.  Ensure conditions are satisfactory to begin work and ensure conditions remain satisfactory during the installation of specified materials.  Materials and methods shall be adjusted as necessary to accommodate varying project conditions.  Materials shall not be installed when conditions are unacceptable to achieve the specified results.

#### Precipitation and dew point: Monitor weather to ensure the project environment is dry before, and will remain dry, during the application of waterproofing materials.  Ensure all waterproofing materials and substrates remain above the dew point temperature as required to prevent condensation and maintain dry conditions.

#### Cold adhesive application:  Primer, where used, shall be fully dry before proceeding.  During cold weather, store the specified membrane adhesives, flashing cements and mastics in heated storage areas.  Take all necessary measures and monitor application conditions, to ensure the adhesive and cement materials are no less than 70(F (21(C) at the point of contact with the membrane.

#### Self-adhesive membrane application:  During cold weather, store the specified self-adhesive membrane and primer materials in heated storage areas to ensure materials remain no less than 70(F (21(C) during application.  Ensure conditions allow primer to remain tacky, but not wet so that primer will not transfer to finger when touched.  Self-adhesive primer shall not fully dry and lose tack before applying the self-adhesive membrane.  Ensure conditions remain satisfactory to achieve membrane adhesion as specified.

#### Heat-Welding Application:  Take all necessary precautions and measures to monitor conditions to ensure all environmental conditions are safe to proceed with the use of torches and hot-air welding equipment.   Combustibles, flammable liquids, and solvent vapors that represent a hazard shall be eliminated. Flammable primers and cleaners shall be fully dry before proceeding with heat-welding operations. Prevent or protect wood, paper, plastics, and other such combustible materials from direct exposure to open flames from roof torches. Refer to NRCA CERTA recommendations.

## PERFORMANCE REQUIREMENTS

### WIND UPLIFT RESISTANCE:

#### Performance testing shall be in accordance with ANSI/FM 4474, FM 4450, FM 4470, UL 580, or UL 1897.

##### Waterproofing Membrane Design Pressures: Calculated in accordance with ASCE 7, or applicable standard, for the specified waterproofing membrane attachment requirements:

###### Field (Zone 1’): 	[- 00.0 psf.]

###### Field (Zone 1): 	[- 00.0 psf.]

###### Perimeter (Zone 2): 	[- 00.0 psf.]

###### Corners (Zone 3):	[- 00.0 psf.]

### FIRE CLASSIFICATION:

#### Performance testing shall be in accordance with UL 790, ASTM E108, FM 4450 or FM 4470.

##### Meets requirements of UL Class A or FM Class A.

#### Performance testing shall be in accordance with UL 1256, FM 4450, or FM 4470 to meet the specified requirements for interior flame spread and fuel contribution.

##### Meets requirements of UL 1256, or FM Class 1.

### IMPACT RESISTANCE:

#### Performance testing for impact resistance shall be in accordance with FM 4450, FM 4470, ASTM D3746 or CGSB 37-GP 56M to meet the specified impact resistance requirements.

##### Meets requirements for FM-SH (Severe Hail), ASTM D3746, or CGSB 37-GP 56M.

#### Performance testing for Large Missile Impact Resistance shall be in accordance with SSTD 12-99.

##### Meets requirements for State of Florida Public Shelter Design Criteria for Enhanced Hurricane Protection Areas.

### CYCLIC FATIGUE:

#### The waterproofing membrane shall pass ASTM D5849 Standard Test Method for Evaluating Resistance of Modified Bituminous Roofing Membrane to Cyclic Fatigue (Joint Displacement).  Passing results shall show no signs of cracking, splitting, or tearing over the joint.

##### Waterproofing membrane shall pass Test Condition 4, tested at 14(F (-10(C) in accordance with ASTM D5849.  (SOPREMA COLPHENE glass fiber reinforced membranes).

##### Waterproofing membrane shall pass Test Condition 5, tested at -4(F (-20(C) in accordance with ASTM D5849.  (SOPREMA COLPHENE polyester reinforced membranes).

## WARRANTY

### Manufacturer's No Dollar Limit (NDL) Warranty.  The manufacturer shall provide the owner with the manufacturer’s warranty providing labor and materials for [10][15][20]-years from the date the warranty is issued.

### The contractor shall guarantee the workmanship and shall provide the owner with the contractor’s warranty covering workmanship for a period of 2 years from completion date.

# PRODUCTS

## MANUFACTURER

### SINGLE SOURCE MANUFACTURER: All SBS modified bitumen membrane and flashing sheets shall be manufactured by a single supplier with 20 years or more manufacturing history in the US.

#### Comply with the Manufacturer’s requirements as necessary to provide the specified warranty.

### PRODUCT QUALITY ASSURANCE PROGRAM: Manufacturer shall be an ISO 9001 registered company. A ‘Quality Compliance Certificate (QCC) for reporting/confirming the tested values of the SBS-Modified Bitumen Membrane Materials will be supplied upon request.

### ACCEPTABLE MANUFACTURER:

#### SOPREMA, located at: 310 Quadral Dr.; Wadsworth, OH 44281; Tel: 800-356-3521; Tel: 330-334-0066; Website: www.soprema.us.

#### Acceptable Alternate Manufacturers:  _________________________

## WATERPROOFING MEMBRANE

### WATERPROOFING MEMBRANE BASIS OF DESIGN: SOPREMA

#### The waterproofing membrane assembly shall consist of a multi-ply, prefabricated, reinforced, homogeneous Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt membrane, secured to a prepared substrate.  Reinforcement mats shall be impregnated (saturated) and coated with a high quality SBS modified bitumen blend.  The cross section of the sheet material shall contain no oxidized or non-SBS modified bitumen.

## SBS-MODIFIED BITUMEN MEMBRANES

### BASE SHEET/ANCHOR SHEET:

#### BASE SHEET/ANCHOR SHEET, MECHANICALLY FASTENED:

##### SOPREMA MODIFIED SOPRA-G: SBS-modified bitumen coated and impregnated glass fiber base sheet, mechanically fastened, approved for use with torch or cold adhesive membrane applications.

###### Width: 36 in (0.914 m)

###### Meets or exceeds ASTM D4601, Type II, and UL Type G2.

##### SOPREMA SOPRABASE S: SBS-modified bitumen coated, asphalt impregnated, non-woven polyester base sheet, mechanically fastened, approved for use with torch or cold adhesive membrane applications.

###### Thickness: 48 mils (1.2 mm)

###### Width: 39 in (1 m)

###### Meets or exceeds physical property testing in accordance with ASTM D5147.

### BASE PLY:

#### BASE PLY, HEAT-WELDED:

##### SOPREMA COLPHENE FLAM 180: SBS-modified bitumen membrane with plastic burn-off film on top and bottom surfaces.  Non-woven polyester reinforcement.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 114 mils (2.9 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 73 lb (36.2 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):80 lb (3596 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

##### SOPREMA COLPHENE 180 SP: SBS-modified bitumen membrane with a plastic burn-off film on the bottom surface and a sanded top surface. Non-woven polyester reinforcement.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 86 lb (39 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):54 lb (2625 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

#### BASE PLY, COLD ADHESIVE/ASPHALT APPLIED:

##### SOPREMA COLPHENE SANDED: SBS-modified bitumen membrane ply sanded on both top and bottom surfaces. Glass fiber reinforcement.  Meets or exceeds ASTM D6163, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 83 lb (37.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):52.3 lb (2552 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

##### SOPREMA COLPHENE 180 SANDED: SBS-modified bitumen membrane sanded on both top and bottom surfaces. Non-woven polyester reinforcement.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 83 lb (37.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m):52.3 lb (2552 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

#### BASE PLY, SELF-ADHESIVE:

##### SOPREMA COLPHENE STICK:  SBS-modified bitumen, self-adhesive membrane with release film on the bottom surface and a sanded top surface.  Non-woven polyester reinforced.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 106 mils (2.7 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 105 lb (47.8 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 65 lb (3188 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

### FLASHING BASE PLY

#### FLASHING BASE PLY, HEAT-WELDED:

##### SOPREMA COLPHENE FLAM 180: SBS-modified bitumen membrane with plastic burn-off film on top and bottom surfaces.  Non-woven polyester reinforcement.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 114 mils (2.9 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 73 lb (36.2 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 80 lb (3596 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C):MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

##### SOPREMA COLPHENE 180 SP: SBS-modified bitumen membrane with a plastic burn-off film on the bottom surface and a sanded top surface. Non-woven polyester reinforcement.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 86 lb (39 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 54 lb (2625 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

#### FLASHING BASE PLY, COLD ADHESIVE:

##### SOPREMA COLPHENE 180 SANDED: SBS-modified bitumen membrane sanded on both top and bottom surfaces. Non-woven polyester reinforcement.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 83 lb (37.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 52.3 lb (2552 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

#### FLASHING BASE PLY, SELF-ADHESIVE:

##### SOPREMA COLPHENE STICK:  SBS-modified bitumen, self-adhesive membrane with release film on the bottom surface and a sanded top surface.  Non-woven polyester reinforced.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 106 mils (2.7 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 105 lb (47.8 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 65 lb (3188 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m):MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N):MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

### CAP SHEET:

#### CAP SHEET, HEAT-WELDED:

##### SOPREMA COLPHENE FLAM 180 FR GR: SBS-modified bitumen membrane Cap Sheet with a burn-off film bottom surface and mineral granule top surface.  Non-woven polyester reinforced.  Meets or exceeds ASTM D6164, Type I, Grade G per ASTM D5147 test methods.

###### Thickness: 157 mils (4.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 118 lb (53.5 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 110 lb (5350 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

###### Granule Surfacing: White mineral granules.

##### SOPREMA COLPHENE 180 SP: SBS-modified bitumen membrane with a plastic burn-off film on the bottom surface and a sanded top surface. Non-woven polyester reinforcement.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 86 lb (39 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 54 lb (2625 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

#### CAP SHEET, COLD ADHESIVE:

##### SOPREMA COLPHENE 180 FR GR: SBS-modified bitumen membrane Cap Sheet with a sanded bottom surface and mineral granule top surface.  Non-woven polyester reinforced.  Meets or exceeds ASTM D6164, Type I, Grade G per ASTM D5147 test methods.

###### Thickness: 157 mils (4.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 116 lb (52.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 108 lb (5276 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

###### Granule Surfacing: White mineral granules.

##### SOPREMA COLPHENE SANDED: SBS-modified bitumen membrane ply sanded on both top and bottom surfaces. Glass fiber reinforcement.  Meets or exceeds ASTM D6163, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 83 lb (37.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 52.3 lb (2552 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

##### SOPREMA COLPHENE 180 SANDED: SBS-modified bitumen membrane sanded on both top and bottom surfaces. Non-woven polyester reinforcement. Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 83 lb (37.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 52.3 lb (2552 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

### FLASHING CAP SHEET

#### FLASHING CAP SHEET, HEAT-WELDED:

##### SOPREMA COLPHENE FLAM 180 FR GR: SBS-modified bitumen membrane Cap Sheet with a burn-off film bottom surface and mineral granule top surface.  Non-woven polyester reinforced.  Meets or exceeds ASTM D6164, Type I, Grade G per ASTM D5147 test methods.

###### Thickness: 157 mils (4.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 118 lb (53.5 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 110 lb (5350 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

###### Granule Surfacing: White mineral granules.

##### SOPREMA COLPHENE 180 SP: SBS-modified bitumen membrane with a plastic burn-off film on the bottom surface and a sanded top surface. Non-woven polyester reinforcement.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 86 lb (39 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 54 lb (2625 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

#### FLASHING CAP SHEET, FLASHING CEMENT-APPLIED:

##### SOPREMA COLPHENE 180 FR GR: SBS-modified bitumen membrane Cap Sheet with a sanded bottom surface and mineral granule top surface.  Non-woven polyester reinforced.  Meets or exceeds ASTM D6164, Type I, Grade G per ASTM D5147 test methods.

###### Thickness: 157 mils (4.0 mm)

###### Width: 39.4 in (1 m)

###### Length: 32.8 ft (10 m)

###### Roll weight: 116 lb (52.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 108 lb (5276 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 115 lbf/in (20.1 kN/m), XMD 90 lbf/in (15.8 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 65%, XMD 80%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

###### Granule Surfacing: White mineral granules.

##### SOPREMA COLPHENE 180 SANDED: SBS-modified bitumen membrane sanded on both top and bottom surfaces. Non-woven polyester reinforcement.  Meets or exceeds ASTM D6164, Type I, Grade S per ASTM D5147 test methods.

###### Thickness: 87 mils (2.2 mm)

###### Width: 39.4 in (1 m)

###### Length: 49.2 ft (15 m)

###### Roll weight: 83 lb (37.7 kg)

###### Net mass per unit area, lb/100 sq ft (g/sq m): 52.3 lb (2552 g)

###### Peak load @ 0(F (-18(C), lbf/in (kN/m): MD 110 lbf/in (19.3 kN/m), XMD 85 lbf/in (14.9 kN/m)

###### Elongation at peak load @ 0(F (-18(C), lbf/in (kN/m): MD 35%, XMD 40%

###### Peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 85 lbf/in (14.9 kN/m), XMD 65 lbf/in (11.4 kN/m)

###### Elongation at peak load @ 73.4(F (23(C), lbf/in (kN/m): MD 55%, XMD 60%

###### Ultimate Elongation @ 73.4(F (23(C), lbf/in (kN/m): MD 60%, XMD 65%

###### Tear Strength @ 73.4(F (23(C), lbf (N): MD 125 lbf (556 N), XMD 85 lbf (378 N)

###### Low temperature flexibility, (F ((C): MD/XMD:  -15(F (-26(C)

###### Dimensional stability, %: MD/XMD: Less than 0.5%

###### Compound stability, (F ((C): MD/XMD: 240(F (116(C)

###### ASTM D 5385: Pass

## ACCESSORIES

### PRIMERS:

#### SOPREMA ELASTOCOL 500 Primer:  Asphalt cut-back primer.  Primer for the preparation of membrane substrates for heat-welded and SOPREMA COLPLY ADHESIVE, solvent-based, cold adhesive-applied and cement applications. NOTE:  Priming is not required for SOPREMA COLPLY EF ADHESIVE and SOPREMA COLPLY EF FLASHING CEMENT applications.

##### Meets or exceeds ASTM D41

##### VOC content:  350 g/L or less.

#### SOPREMA ELASTOCOL STICK ZERO Primer: 0 g/L VOC solvent, self-adhesive membrane primer.  Low VOC, solvent-based primer for the preparation of membrane substrates for self-adhered SBS membrane and self-adhesive SBS flashing applications.

#### SOPREMA ELASTOCOL STICK Primer:  Self-adhesive membrane primer. SBS polymer, resin and, solvent-based primer for the preparation of membrane substrates for self-adhesive SBS membrane and self-adhered SBS flashing applications.

#### SOPREMA ELASTOCOL 350 Primer:  Polymer emulsion primer, meeting low VOC requirements for the preparation of membrane substrates for torch and SOPREMA COLPLY adhesive and flashing cement applications.

### MEMBRANE ADHESIVES:

#### SOPREMA COLPLY ADHESIVE:  SBS-modified bitumen membrane adhesive for use with sanded base ply and cap sheet membranes.

##### VOC Content: 250 g/L or less.

##### Meets or exceeds ASTM D3019

#### SOPREMA COLPLY EF ADHESIVE: Premium, non-toxic, low odor, solvent-free, polymeric membrane adhesive for use with all SBS-modified bitumen sanded base ply and cap sheet membrane applications.

##### VOC Content:  32 g/L or less VOC Content.

##### Meets or exceeds ASTM D7379

### FLASHING CEMENT

#### SOPREMA COLPLY FLASHING CEMENT: SBS-modified bitumen membrane flashing cement for use with sanded base ply flashing and cap sheet flashing.

##### VOC Content:  250 g/L or less.

##### Meets or exceeds ASTM D4586

#### SOPREMA COLPLY EF FLASHING CEMENT: Premium, non-toxic, low-odor, solvent-free, polymeric membrane flashing cement for use with sanded base ply and cap sheet flashing applications.

##### VOC Content:  32 g/L or less VOC Content.

### GENERAL PURPOSE ROOFING CEMENT AND MASTIC

#### SOPREMA SOPRAMASTIC:  SBS Mastic.  Fiber-reinforced, roofing cement, packaged in 5-gallon pails.  General purpose roofing cement used for sealing membrane T-joints and membrane edges along terminations, transitions and at penetrations.

##### VOC Content:  190 g/L or less.

##### Meets or exceeds ASTM D4586, Type I, Class II.

#### SOPREMA SOPRAMASTIC:  SBS Mastic.  Fiber-reinforced, roofing cement, packaged in 10.4 oz caulk tubes.  General purpose roofing cement used for sealing membrane T-joints and membrane edges along terminations, transitions and at penetrations.

##### VOC Content:  190 g/L or less.

##### Meets or exceeds ASTM D4586, Type I, Class II.

### GENERAL PURPOSE SEALANT

#### SOPREMA SOPRAMASTIC SP1:  General purpose, paintable, gun-grade, elastomeric, polyether moisture curing sealant for sealing SBS membrane terminations, Kynar 500 PVDF, horizontal and vertical construction joints.

##### VOC Content:  20 g/L or less.

##### Meets or exceeds ASTM C920, Type S, Grade NS, Class 50.

##### Standard color, custom color.

### BASE SHEET/ANCHOR SHEET FASTENERS

#### SOPREMA BASE SHEET FASTENER 1.2 in:  Anchor/Base sheet fastener and metal stress plate.

#### SOPREMA BASE SHEET FASTENER BSF 1.7 in:  Anchor/Base sheet fastener and metal stress plate.

#### SOPREMA TWIN-LOC NAIL:  Preassembled nail and metal stress plate.

### LIQUID-APPLIED REINFORCED FLASHING SYSTEM:

#### SOPREMA ALSAN RS 230 Flash, Catalyzed polymethyl methacrylate (PMMA) resin with polyester reinforcing fleece fabric fully embedded into the resin to form fully reinforced waterproofing membrane flashings.  Not for use over SBS cap sheets adhered with solvent based SOPREMA COLPLY adhesive or flashing cement.

##### VOC Content:  <5 G/L content.

##### SOPREMA ALSAN RS 230 FLASH:  Polymethyl methacrylate (PMMA) liquid resin.

##### SOPREMA ALSAN RS CATALYST POWDER:  Reactive agent added to the PMMA liquid resin to induce curing.

##### SOPREMA ALSAN RS FLEECE:  Polyester reinforcement fabric.

##### Color:  Flash color and finish to match Field.

### LIQUID-APPLIED REINFORCED FLASHING SYSTEM:

#### SOPREMA ALSAN RS 260 LO FLASH, Catalyzed polymethacrylate (PMA) resin with polyester reinforcing fleece fabric fully embedded into the resin to form fully reinforced waterproofing membrane flashings.  Not for use over SBS cap sheets adhered with solvent based SOPREMA COLPLY adhesive or flashing cement.

##### VOC Content:  <5 G/L content.

##### SOPREMA ALSAN RS 260 LO FLASH:  polymethacrylate (PMA) liquid resin.

##### SOPREMA ALSAN RS CATALYST POWDER:  Reactive agent added to the PMMA liquid resin to induce curing.

##### SOPREMA ALSAN RS FLEECE:  Polyester reinforcement fabric.

##### Color:  Flash color and finish to match Field.

### MINERAL GRANULES:

#### SOPREMA Granules:  No. 11, mineral coated colored granules, color to match cap sheet, supplied by membrane cap sheet manufacturer.

##### SOPREMA GRANULES

# EXECUTION

## EXAMINATION

### Examination includes visual observations, qualitative analysis, and quantitative testing measures as necessary to ensure conditions remain satisfactory throughout the project.

### The contractor shall examine all waterproofing substrates including, but not limited to insulation materials, decks, walls, curbs, equipment, fixtures, and wood blocking.

### The applicator shall not begin installation until conditions have been properly examined and determined to be clean, dry and, otherwise satisfactory to receive specified waterproofing materials.

### During the application of specified materials, the applicator shall continue to examine all project conditions to ensure conditions remain satisfactory to complete the specified waterproofing membrane.

## PREPARATION

### Before commencing work each day, the contractor shall prepare all waterproofing substrates to ensure conditions are satisfactory to proceed with the installation of specified waterproofing materials.  Preparation of substrates includes, but is not limited to, substrate repairs, securement of substrates, eliminating all incompatible materials, and cleaning.

### Where conditions are found to be unsatisfactory, work shall not begin until conditions are made satisfactory to begin work. Commencing of work shall indicate contractor’s acceptance of conditions.

## PRIMER APPLICATION

### Examine all substrates, and conduct adhesion peel tests as necessary, to ensure satisfactory adhesion is achieved.

### Apply the appropriate specified primer to dry, compatible substrates as required to enhance adhesion of new specified waterproofing materials.

### Apply primer using brush, roller, or sprayer at the rate published on the product data sheet. Lightly prime for uniform coverage, do not apply heavy or thick coats of primer.

### Asphalt Primer:  Apply [SOPREMA ELASTOCOL 500][SOPREMA ELASTOCOL 350] primer to dry compatible masonry, metal, wood, and other required substrates before applying heat-welded membrane plies.  Primer is optional for solvent based solvent based SBS adhesives and cements. Refer to product data sheets.

### Self-Adhesive Membrane Primer: Apply [SOPREMA ELASTOCOL STICK][SOPREMA ELASTOCOL STICK ZERO] to dry, compatible substrates as required to enhance adhesion of self-adhesive membrane plies.  Ensure self-adhered membrane primer is tacky to-the-touch, but not wet.  Primer should not transfer to the fingertips when touched.

### Primer is not required for [SOPREMA COLPLY EF ADHESIVE][SOPREMA COLPLY EF FLASHING CEMENT].

### Project conditions vary throughout the day.  Monitor changing conditions, monitor the drying time of primers, and monitor the adhesion of the membrane plies.  Adjust primer and membrane application methods as necessary to achieve the desired results.

## HEAT WELDING

### The Contractor is responsible for project safety.  Where conditions are deemed unsafe to use open flames, manufacturer’s alternate membrane application methods shall be used to install SBS modified bitumen membrane and flashings. Acceptable alternate installation methods include cold adhesive-applied and self-adhered membranes.  Hot-air welding equipment may be used in lieu of roof torches to seal membrane side and end laps where heat welding the laps is necessary.   Refer to NRCA CERTA, local codes and building owner’s requirements for hot work operations.

### Single or multi-nozzle, hand-held propane roof torches shall be used to install heat-welded membrane and flashing plies. Multi-nozzle carts (dragon wagons) may also be utilized to install membrane plies.  Seven (7) nozzle carts are recommended for more uniform heat application in lieu of five (5) nozzle carts.

## MEMBRANE ADHESIVE APPLICATION

### The ambient temperature shall be above 50(F (10(C), and the adhesive temperature shall be a minimum of 70(F (21(C) at the point of membrane application.

### To ensure the adhesive is applied at 70(F (21(C), during cold weather, drums and 5-gallon pails shall be stored in heated areas.  Drums and 5-gallon pails exposed to cold temperature shall be provided with heaters when necessary to ensure the minimum application temperature is maintained.

### Priming substrates is optional when solvent-based membrane adhesives are used.  Primer may be applied to reduce adhesive consumption rates for some absorptive substrates.

### SOPREMA COLPLY ADHESIVE may be applied using a 3/16 – 3/8-inch notched squeegee, brush, or spray equipment.

### SOPREMA COLPLY EF ADHESIVE may be applied using a 3/16 – 3/8-inch notched squeegee or brush.  SOPREMA COLPLY EF ADHESIVE is not spray-applied.

### Apply adhesive to clean, dry, and prepared compatible substrates as required to ensure full adhesion.

### Follow the adhesive product data sheet requirements for application rates.

### Apply a uniform application of membrane adhesive at the application rate published on the product data sheet.

### Apply 1-1/2 to 2-1/2 gallons per square between membrane plies.  The application rate is 3 to 4 gallons per square or more over absorptive substrates and over granule surfaces.  Refer to manufacturer’s product data sheet and adjust application rate based upon surface conditions.

### Install the SBS membrane ply before the adhesive begins to skin over.  Once adhesive skins over, the membrane ply will not adhere.

## FLASHING CEMENT APPLICATION

### The ambient temperature shall be above 50(F (10(C), and the flashing cement temperature shall be a minimum of 70(F (21(C) at the point of membrane application.

### To ensure the flashing cement is applied at 70(F (21(C), during cold weather, pails shall be stored in heated areas.  Pails exposed to cold temperature shall be provided with heaters when necessary to ensure the minimum application temperature is maintained.

### Priming substrates is optional when solvent-based membrane adhesives are used.  Primer may be applied to reduce adhesive consumption rates for some absorptive substrates.

### SOPREMA COLPLY FLASHING CEMENT may be applied using ¼ inch notched trowel. Apply 2.0 – 2.5 gallons per square to each surface.  Primer may be used to reduce consumption of solvent-based flashing cement.

### SOPREMA COLPLY EF FLASHING CEMENT may be applied using ¼ inch notched trowel. Apply 2.0 – 2.5 gallons per square to each surface.  Primer is not required for SOPREMA COLPLY EF FLASHING CEMENT.

### Application rates vary based on substrate porosity and roughness.

## SBS MASTIC AND GENERAL-PURPOSE ROOFING CEMENT APPLICATION

### Apply SOPREMA SOPRAMASTIC general purpose SBS mastic and roofing cement to seal drain leads, metal flanges, seal along membrane edge, at terminations, and where specified and required in detail drawings.

### Do not use general purpose SBS mastics and roofing cement where flashing cement applications are required.  Do not use SBS mastics and roofing cement beneath SBS-modified bitumen membrane and flashing plies.

### Apply general purpose SBS mastic and elastic roofing cement using caulk gun, or notched trowel at 2.0 – 2.5 gallons per square on each surface.  Application rates vary based on substrate porosity and roughness.  Tool-in as necessary to seal laps.

### Embed matching granules into wet cement where exposed.

## MECHANICALLY FASTENED ANCHOR/BASE SHEET APPLICATION

### Follow material product data sheets and published general requirements for installation instructions.

### Ensure environmental conditions are satisfactory, and will remain satisfactory, during the application.

### Unroll the sheet onto the surface and allow time to relax prior to installing the fasteners.

### Starting at the low point, lay out the membrane to ensure the plies are installed perpendicular to the waterproofing membrane slope, shingled to prevent back-water laps.

### Cut sheet to working lengths and widths as required, conforming to conditions.

### Align sheet at side-laps to produce a consistent overlap required for wind uplift resistance approvals.

### As uniform tension is being applied, fasten the sheet beginning at the center of the sheet and work towards the end-laps, removing all wrinkles and buckles as fastening progresses.

### Install specified fasteners along the center line of side-laps, and intermediate rows staggered between side-laps, and fasten all end-laps.

### Fasten sheet as required for specified wind uplift resistance.  Install additional fasteners in perimeter and corners as specified.

## HEAT-WELDED, FULLY ADHERED MEMBRANE APPLICATION

### Follow material product data sheets and published general requirements for installation instructions.

### Ensure environmental conditions are safe and satisfactory, and will remain safe and satisfactory, during the application of the heat-welded membrane and flashings.

### Ensure all primers are fully dry before beginning heat-welding operations.

### Unroll membrane onto the waterproofing surface and allow time to relax prior to heat welding.

### Starting at the low point of the surface, lay out the membrane to ensure the plies are installed perpendicular to the slope, shingled to prevent back-water laps.

### Ensure all waterproofing and flashing substrates are prepared and acceptable to receive the heat-welded membrane.

### Cut membrane to working lengths and widths to conform to conditions and lay out to always work to a selvage edge.

### Ensure specified side-laps and end-laps are maintained.  End-laps should be staggered 3 ft apart.

### Direct roof torch on the roll as necessary to prevent overheating and damaging the membrane and substrates.

### As the membrane is unrolled, apply heat to the underside of the membrane until the plastic burn-off film melts away.   Continuously move the torch side-to-side across the underside of the roll to melt the bitumen on the underside of the sheet, while continuously unrolling membrane.

### While unrolling and heating the sheet, ensure approximately ¼ to 1/2 in of hot bitumen flows ahead of the roll as it is unrolled, and there is 1/8 to 1/4 in bleed out at all laps.

### Adjust the application of heat to the underside of the membrane and to substrate as required for varying substrates and environmental conditions.

### At the 6 in end-laps, melt the plastic burn-off film from the top surface or embed granules and remove surfacing, where present, using a torch or hot-air welder.

### At end-laps where T-Joints exist, cut a 45-degree dog-ear away from the selvage edge.

### Each day, physically inspect all side and end-laps, and ensure the membrane is sealed watertight.  Where necessary, use a torch or hot-air welder and a clean trowel to ensure all laps are fully sealed.

### Inspect the installation each day to ensure the plies are fully adhered.  Repair all voids, wrinkles, open laps, and all other deficiencies.

### Offset cap sheet side and end-laps away from the base ply laps so that cap sheet laps are not located within 18 in of base ply laps.

## SELF-ADHESIVE BASE PLY APPLICATION

### Follow material product data sheets and published general requirements for installation instructions.

### Ensure environmental conditions are satisfactory, and will remain satisfactory, during the application of the self-adhesive membrane.

### Unroll membrane onto the surface and allow time to relax prior to installing the membrane.

### Starting at the low point of the surface, lay out the membrane to ensure the plies are installed perpendicular to the slope, shingled to prevent back-water laps.

### Ensure all waterproofing and flashing substrates are prepared and acceptable to receive the self-adhesive membrane.

### Ensure primer is tacky to-the-touch, but not wet.  Primer should not transfer to the fingertips when touched.  Do not proceed if primer is wet or becomes fully dry and dirty.  If primer becomes fully dry, dirty and loses all tack, re-prime the substrate as necessary to achieve membrane adhesion.

### Cut rolls to working lengths and widths to conform to conditions and lay out to always work to a selvage edge.

### Ensure membrane side-laps and end-laps are maintained.

### Peel the release film from the underside of the membrane. Press and adhere the leading edge of the membrane to the substrate but leaving the 6 in end-lap un-adhered to heat weld the end-lap.

### As the release film is peeled away, use a weighted roller to firmly set the sheet in place.  Ensure full contact is made between the ply and the substrate for full adhesion.  Use a hand-roller to roll-in vertical flashings and confined areas to firmly apply pressure.

### Adhere all end-laps using torch or hot-air welder or adhere using specified cold adhesive.

### At 6 in end-laps, cut a 45-degree dog-ear away from the 3 in selvage edge.

### Offset self-adhered end-laps 3 ft.

### Each day, physically inspect all side and end-laps, and ensure the membrane is watertight.  Where necessary, use a torch or hot-air welder and a clean trowel to ensure all laps are fully sealed.

### Inspect the installation each day to ensure the plies are fully adhered.  Repair all un-adhered voids, wrinkles, open laps, and all other deficiencies.

### Offset cap sheet side and end-laps away from the base ply laps so that cap sheet laps are not located within 18 in of base ply laps.

## COLD ADHESIVE-APPLIED MEMBRANE APPLICATION

### Follow material product data sheets and published general requirements for installation instructions.

### Ensure environmental conditions are satisfactory, and will remain satisfactory, during the application of the membrane adhesive and membrane plies.

### Unroll membrane onto the surface and allow the membrane to relax prior to installing the membrane.

### Re-roll the membrane for the plies to be rolled into the adhesive while ensuring the specified side and end-laps are maintained

### Starting at the low point of the surface, lay out the membrane to ensure the plies are installed perpendicular to the slope, shingled to prevent back-water laps.

### Cut rolls to working lengths and widths to conform to conditions and lay out to always work to a selvage edge.

### Ensure all waterproofing and flashing substrates are prepared as necessary, and all substrates are acceptable to receive the specified adhesive and membrane.

### Install the specified membrane adhesive ahead of the membrane application.  Do not allow the adhesive to skin-over before the membrane is applied into the adhesive. The membrane will not adhere where adhesive has skinned over.

### Where laps are adhered using membrane adhesive, apply sufficient adhesive coverage to ensure 1/8 to 1/4 in bleed-out is present at all laps.

### Once set in place, ensure specified side-laps and end-laps are maintained.

### At end-laps, cut a 45-degree dog-ear away from the selvage edge for all T-joints.

### For low-slope areas where the slope falls below 1/4 in per foot, and where otherwise specified, leave all membrane side and end-laps dry to hot-air weld or torch all laps watertight.  Embed granules, where present, when heat welding sheets.

### Use a follow tool, weighted roller or broom the leading edge of the membrane to the substrate, working forward and outward as necessary to remove wrinkles.  Avoid walking over the membrane during application.

### Each day, physically inspect all side and end-laps, and ensure the membrane is sealed watertight.  Where necessary, use a torch or hot-air welder and a clean trowel to ensure all laps are fully sealed.

### Inspect the installation each day to ensure the plies are fully adhered.  Repair all voids, wrinkles, open laps and all other deficiencies.

### Offset cap sheet side and end-laps away from the base ply laps so that cap sheet laps are not located within 18 in of base ply laps.

### Immediately broadcast matching granules into adhesive bleed-out at cap sheet laps, or otherwise treat bitumen bleed-out once adhesive has dried and cured.

## FLASHING APPLICATION, HEAT WELDED

### Refer to SBS manufacturer’s membrane application instructions, flashing detail drawings, and follow product data sheets and other published requirements for installation instructions. Refer to manufacturer’s membrane flashing detail drawings.

### The contractor is responsible for project safety.  Refer to NRCA CERTA recommendations and building owner requirements for hot work operations.

### Where required to seal substrates for fire safety, install specified adhered, self-adhered or fastened backer ply to the substrate.  Ensure backer-ply covers and seals all substrates requiring protection from exposure to torch operations.

### Ensure all flashing substrates that require primer are primed, and the primer is fully dry.

### Unroll the flashing base ply and flashing cap sheet onto the surface to their complete length.  Once relaxed, cut the membrane to the required working lengths to accommodate the flashing height, cants, and the required over-lap onto the horizontal surface.

### Cut the flashing membrane from the end of the roll to always install flashings to the side-lap line or selvage edge line.

### Lay out the flashing base ply and flashing Cap Sheet to offset all side-laps a minimum of 12 inches so that side-laps are never aligned on top of the ply beneath.  Shingle the flashing ply laps to prevent back-water laps.

### Install non-combustible cant strips at transitions where required.

### Ensure correct membrane and flashing sequencing to achieve redundant, multi-ply, watertight flashings.

### WATERPROOFING MEMBRANE BASE PLY:

#### Before installing flashings, install the waterproofing membrane base ply in the horizontal field area, and extend the base ply up to the top of the cant, where present, at waterproofing terminations, transitions, and penetrations.

### FLASHING BASE PLY:

#### Install the flashing base ply starting at the top leading edge of the vertical flashing substrate, down over the cant and onto the horizontal surface a minimum of 3 inches beyond the of base of the cant. Cut the base ply at corners to form 3-inch side-laps.  Install gussets to seal corner transitions.

#### Install one or more flashing base ply(s) at all waterproofing terminations, transitions and penetrations.

### WATERPROOFING MEMBRANE CAP SHEET:

#### Install the waterproofing membrane Cap Sheet in the horizontal surface over the flashing base ply up to the waterproofing termination, transition, or penetration, and up to the top of cants where present.

#### Using a chalk line, mark a line on the membrane cap sheet a minimum of 4 inches from the base of the cant.  Where granules are present, embed the cap sheet granules using a torch and trowel or granule embedder to prepare the surface to receive the flashing cap sheet.

### FLASHING CAP SHEET:

#### Install the flashing Cap Sheet starting at the top leading edge on the vertical substrate, over the cant and onto the horizontal surface 4 inches from the base of the cant.

#### Install the flashing Cap Sheet to ensure a minimum two (2) ply flashing system is present at all waterproofing terminations, transitions, and penetrations.

### During the membrane and flashing installation, ensure all plies are completely adhered into place, with no bridging, voids, or openings.  Ensure bitumen or flashing cement bleed-out is present at all flashing side and end-laps.

### Use a damp sponge float or damp rag to press-in the heat-welded flashing plies during installation.

### Where sufficient bitumen bleed-out is not present, apply specified gun-grade sealant or mastic to seal the membrane termination along all terminations, transitions, and penetrations. These include gravel stop edge metal, pipe penetrations, along the top edge of curb and wall flashing, and all other flashing terminations where necessary to seal flashings watertight.

### Fasten the top leading edge of the flashing 8 in on-centers with appropriate 1 in metal cap nails or other specified fasteners and plates.  Seal fastener penetrations watertight using specified sealant or mastic.

### Manufacturer’s liquid-applied, reinforced flashing systems shall be installed where conditions are not favorable to install SBS modified bitumen flashings.  Such conditions include irregular shapes penetrating waterproofing membrane surfaces (I-beams), confined areas and low flashing heights. Manufacturer’s liquid-applied, reinforced flashing systems are recommended in lieu of pitch pans and lead pipe flashings.

### For SBS modified bitumen flashings that are heat-welded or installed using SOPREMA COLPLY EF adhesive and/or flashing cement, refer to manufacturer’s installation guidelines for SOPREMA ALSAN RS.

## FLASHING APPLICATION, COLD-APPLIED FLASHING CEMENT

### Refer to manufacturer’s membrane application instructions, flashing detail drawings, and follow product data sheets and other published requirements for installation instructions. Refer to manufacturer’s membrane flashing detail drawings.

### It is not required to prime substrates to receive solvent-based flashing cement.  Priming is recommended to enhance adhesion and reduce the consumption rate of flashing cement for absorptive substrates.

### Primer is not required when SOPREMA COLPLY EF FLASHING CEMENT is used.

### Unroll the flashing base ply and flashing Cap Sheet onto the surface to their complete length.  Once relaxed, cut the membrane to the required working lengths to accommodate the flashing height, cants, and the required over-lap onto the horizontal surface.

### Cut the flashing membrane from the end of the roll to always install flashings to the side-lap line or selvage edge line.

### Lay out the flashing base ply and flashing Cap Sheet to offset all side-laps a minimum of 12 inches so that side-laps are never aligned on top of the ply beneath.  Shingle the flashing ply laps to prevent back-water laps.

### Install non-combustible cant strips at all horizontal-to-vertical transitions.

### Ensure correct membrane and flashing sequencing to achieve redundant, multi-ply, watertight flashings.

### WATERPROOFING MEMBRANE BASE PLY:

#### Before installing flashings, install the waterproofing membrane base ply in the horizontal field area, and extend the base ply up to the top of the cant, where present, at waterproofing terminations, transitions and penetrations.

### FLASHING BASE PLY:

#### Install the flashing base ply starting at the top leading edge of the vertical flashing substrate, down over the cant and onto the horizontal surface a minimum of 3 inches beyond the of base of the cant.  Cut the base ply at corners to form 3-inch side-laps.  Install gussets to seal corner transitions.

#### Install one or more flashing base ply(s) at all waterproofing terminations, transitions, and penetrations.

### WATERPROOFING MEMBRANE CAP SHEET:

#### Install the waterproofing membrane Cap Sheet in the horizontal field area over the flashing base ply up to the waterproofing termination, transition, or penetration, and up to the top of cants where present.

#### Using a chalk line, mark a line on the membrane Cap Sheet a minimum of 4 inches from the base of the cant.  Where granules are present, it is recommended to embed the Cap Sheet granules using a torch and trowel or granule embedder to prepare the surface to receive the flashing Cap Sheet.

### FLASHING CAP SHEET:

#### Install the flashing Cap Sheet starting at the top leading edge on the vertical substrate, over the cant and onto the horizontal surface 4 inches from the base of the cant.

#### Install the flashing Cap Sheet to ensure a minimum two (2) ply flashing system is present at all waterproofing terminations, transitions, and penetrations.

### Apply flashing cement to the substrate and to the underside of the flashing ply using a ¼ inch notched trowel. Apply 2.0 – 2.5 gallons per square to each surface.  Application rates vary based on substrate conditions.

### During the membrane and flashing installation, ensure all plies are completely adhered into place, with no bridging, voids, or openings.  Ensure bitumen or flashing cement bleed-out is present at all flashing side and end-laps.

### Press-in the flashing plies during installation to ensure they are in full contact with the substrate below.

### Where sufficient bitumen bleed-out is not present, apply specified gun-grade sealant or mastic to seal the membrane termination along all waterproofing terminations, transitions, and penetrations. These include gravel stop edge metal, pipe penetrations, along the top edge of curb and wall flashing, and all other flashing terminations where necessary to seal flashings watertight.

### Fasten the top leading edge of the flashing 8 inches on-centers with appropriate 1 in metal cap nails or other specified fasteners and plates.  Seal fastener penetrations watertight using manufacturer’s sealant or mastic.

### Manufacturer’s liquid-applied, reinforced flashing systems should be installed where conditions are not favorable to install SBS modified bitumen flashings.  Such conditions may include irregular shapes penetrating surfaces (I-beams), confined areas and low flashing heights. Liquid-applied, reinforced flashing systems are required in lieu of pitch pans and lead pipe flashings.

### For SBS modified bitumen flashings that are heat-welded or installed using SOPREMA COLPLY EF adhesive and/or flashing cement, refer to manufacturer’s installation guidelines for SOPREMA ALSAN RS.

## FLASHING BASE PLY APPLICATION, SELF-ADHESIVE

### Refer to SBS modified bitumen membrane manufacturer’s application instructions, flashing detail drawings, and follow product data sheets and other published requirements for installation instructions. Refer to manufacturer’s SBS modified bitumen membrane flashing detail drawings.

### Ensure all flashing substrates are primed using self-adhesive membrane primer.  Refer to self-adhesive membrane primer application requirements.

### Unroll the flashing base ply onto the surface to their complete length.  Once relaxed, cut the membrane to the required working lengths to accommodate the flashing height, cants, and the required over-lap onto the horizontal surface.

### Cut the flashing membrane from the end of the roll to always install flashings to the side-lap line or selvage edge line.

### Lay out the flashing base ply and flashing cap sheet to offset all side-laps a minimum of 12 inches so that side-laps are never aligned on top of the ply beneath.  Shingle the flashing ply laps to prevent back-water laps.

### Install non-combustible cant strips at transitions where required.

### Ensure correct membrane and flashing sequencing to achieve redundant, multi-ply, watertight flashings.

### WATERPROOFING MEMBRANE BASE PLY:

#### Before installing flashings, install the waterproofing membrane base ply in the horizontal field, and extend the base ply up to the top of the cant, where present, at waterproofing terminations, transitions, and penetrations.

### FLASHING BASE PLY:

#### Install the flashing base ply starting at the top leading edge of the vertical flashing substrate, down over the cant and onto the horizontal surface a minimum of 3 inches beyond the of base of the cant.  Cut the base ply at corners to form 3-inch side-laps.  Install gussets to seal corner transitions.

#### Install one or more flashing base ply(s) at all terminations, transitions, and penetrations.

### During the membrane and flashing installation, ensure all plies are completely adhered into place, with no bridging, voids, or openings.  Use weighted roller, or hand roller for confined areas, to apply pressure to ensure full contact and complete adhesion.

### Heat weld or hot-air weld all flashing side and end-laps or adhere using specified flashing cement.

### Seal all flashing ply T-joints at end laps using torch and trowel, hot-air welder or flashing cement.

## LIQUID-APPLIED, [PMMA][PMA] MEMBRANE AND FLASHING SYSTEM APPLICATION

### Refer to manufacturer’s details drawings, product data sheets and published general requirements for application rates and specific installation instructions.

### Pre-cut SOPREMA ALSAN RS FLEECE polyester reinforcing fleece to conform to waterproofing terminations, transitions and penetrations being flashed.  Ensure a minimum 2 in overlap of fleece at side and end-laps. Ensure the completed liquid-applied flashing membrane is fully reinforced.

### Apply the base coat of catalyzed SOPREMA ALSAN RS resin onto the substrate using a brush or roller, working the material into the surface for complete coverage and full adhesion.

### Immediately apply the SOPREMA ALSAN RS FLEECE reinforcing into the wet base coat of resin.  Using a brush or roller, work the SOPREMA ALSAN FLEECE reinforcing fabric into the wet resin while applying the second coat of catalyzed SOPREMA ALSAN RS resin to completely encapsulate the fleece.

### Refer to reinforced, [polymethyl-methacrylate (PMMA)][polymethacrylate (PMA)] specification section and application instructions, details drawings, product data sheets and published general requirements for installation instructions.

## CLEAN-UP

### Clean-up and properly dispose of waste and debris resulting from these operations each day as required to prevent damages and disruptions to operations.

END OF SECTION