SECTION 07 54 16

KETONE ETHYLENE ESTER (KEE) ROOFING

NOTE:  This guide specification is provided as a guideline and must be modified, as required, by the Designer of Record for each project. This specification is prepared in general accordance with CSI format to be included under Division 7 – Thermal and Moisture Protection.  Additional information is provided.  [delete this paragraph]

Optional information is presented in “blue” font below.  Choose appropriate options, delete, as necessary.  [delete this paragraph]

# GENERAL

## SUMMARY

### Work shall include, but is not limited to, the following:

#### KEE membrane, [mechanically fastened][induction welded][fully adhered].

#### KEE membrane flashings, [induction welded][loose laid][fully adhered].

#### [PMMA][PMA] liquid-reinforced membrane flashings.

#### All related materials and labor required to complete specified roofing necessary to receive specified manufacturer’s warranty.

## RELATED SECTIONS

### Division 01 00 00 General Requirements

### Division 011000 – Summary of Work

### Division 072200 – Roof Insulation

### Division 076200 – Sheet Metal Flashing and Trim

## DEFINITIONS

### ASTM D 1079-Definitions of Term Relating to Roofing and Waterproofing.

### The National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual, Fifth Edition Glossary.

## REFERENCES

### AMERICAN SOCIETY OF CIVIL ENGINEERS - Reference Document ASCE 7, Minimum Design Loads for Buildings and Other Structures.

### AMERICAN STANDARD OF TESTING METHODS (ASTM):

#### ASTM C 920 - Standard Specification for Elastomeric Joint Sealants

#### ASTM D 751 - Standard Test Methods for Coated Fabrics.

#### ASTM D 4434 - Standard for Polyvinyl Chloride Sheet Roofing.

#### ASTM E 108 - Standard Test Methods for Fire Tests of Roof Coverings.

#### ASTM E 1980 - Standard Practice for Calculating Solar Reflectance Index of Horizontal and Low-Sloped Opaque Surfaces.

### AMERICAN NATIONAL STANDARDS INSTITUTE (ANSI):

#### ANSI/SPRI FX-1, Standard Field Test Procedure for Determining the Withdrawal Resistance of Roofing Fasteners.

#### ANSI/FM 4474- American National Standard for Evaluating the Simulated Wind Resistance of Roof Assemblies Using Static Positive and/or Negative Differential Pressures.

### CANADIAN GENERAL STANDARDS BOARD (CGSB):

#### CGSB 37-GP 56M- Standard for: Membrane, Modified Bituminous, Prefabricated, and Reinforced for Roofing.

### COOL ROOF RATING COUNCIL (CRRC)

### FACTORY MUTUAL (FM):

#### FM 4450 - Approval Standard - Class I Insulated Steel Roof Decks.

#### FM 4470 - Approval Standard - Class I Roof Covers.

### FLORIDA BUILDING CODE (FBC):

#### 20XX Florida Building Code (FBC).

### INTERNATIONAL CODES COUNCIL (ICC):

#### 20XX International Building Code (IBC).

### NATIONAL ROOFING CONTRACTORS’ ASSOCIATION (NRCA).

### SHEET METAL AND AIR CONDITIONING CONTRACTORS’ NATIONAL ASSOCIATION INC. (SMACNA) Architectural Sheet Metal Manual.

### SINGLE PLY ROOFING INDUSTRY (SPRI)

### UNDERWRITERS LABORATORY (UL):

#### UL 790 Standard Test Methods for Fire Tests of Roof Coverings.

## ACTION SUBMITTALS

### Product Data Sheets: Submit manufacturer’s product data sheets, installation instructions and/or general requirements for each component.

### Material Safety Data Sheets: Submit manufacturer’s Safety Data Sheets (SDS) for each component.

### Sample/Specimen Warranty from the manufacturer and contractor.

### Shop Drawings: Provide roof plan and applicable roof system detail drawings.

## INFORMATIONAL SUBMITTALS

### Contractor Certification: Submit written certification from roofing system manufacturer certifying that the applicator is authorized by the manufacturer to install the specified materials and system.

## CLOSEOUT SUBMITTALS

### Warranty: Provide manufacturers and contractor’s warranties upon substantial completion of the roofing system.

## QUALITY ASSURANCE

### MANUFACTURER QUALIFICATIONS:

#### Manufacturer shall have 20 years of experience manufacturing roofing materials.

#### Trained Technical Field Representatives, employed by the manufacturer, independent of sales.

#### Provide reports in a timely manner of all site visit reports.

#### Provide specified warranty upon satisfactory project completion.

### CONTRACTOR QUALIFICATIONS:

#### Contractor shall be authorized by the manufacturer to install specified materials prior to the bidding period through satisfactory project completion.

#### Applicators shall have completed projects of similar scope using same materials as specified herein.

#### Contractor shall provide full time, on-site superintendent or foreman experienced with the specified roof system through satisfactory project completion.

#### Applicators shall be skilled in the application methods for all materials.

#### Contractor shall maintain a daily record, on-site, documenting material installation and related project conditions.

#### Contractor shall maintain a copy of all submittal documents, on-site, available always for reference.

## DELIVERY, STORAGE AND HANDLING

### Refer to each product data sheet or other published literature for specific requirements.

### Deliver materials and store them in their unopened, original packaging, bearing the manufacturer's name, related standards, and any other specification or reference accepted as standard.

### Protect and store materials in a dry, well-vented, and weatherproof location. Only materials to be used the same day shall be removed from this location. During cold weather, store materials in a heated location, removed only as needed for immediate use.

### When materials are to be stored outdoors, store away from standing water, stacked on raised pallets or dunnage, at least 4 in or more above ground level.  Carefully cover storage with “breathable” tarpaulins to protect materials from precipitation and to prevent exposure to condensation.

### Properly dispose of all product wrappers, pallets, cardboard tubes, scrap, waste, and debris.  All damaged materials shall be removed from job site and replaced with new, suitable materials.

## SITE CONDITIONS

### SAFETY:

#### The contractor shall be responsible for complying with all project-related safety and environmental requirements.

#### Hot-air welding shall include heating the specified membrane ply using electric hot-air welding equipment.  The contractor shall determine when and where conditions are appropriate to utilize hot-air welding equipment.  When conditions are determined by the contractor to be unsafe to proceed, materials and methods shall be utilized to accommodate requirements and conditions.

#### Refer to NRCA CERTA recommendations, local codes and building owner’s requirements for hot work operations.

#### The contractor shall review project conditions and determine when and where conditions are appropriate to utilize the specified liquid-applied, or semi-solid roofing materials.  When conditions are determined by the contractor to be unsafe or undesirable to proceed, measures shall be taken to prevent or eliminate the unsafe or undesirable exposures and conditions, or equivalent approved materials and methods shall be utilized to accommodate requirements and conditions.

#### The contractor shall refer to product Safety Data Sheets (SDS) for health, safety, and environment related hazards, and take all necessary measures and precautions to comply with exposure requirements.

### ENVIRONMENTAL CONDITIONS:

#### Monitor substrate temperature and material temperature, as well as all environmental conditions such as ambient temperature, moisture, sun, cloud cover, wind, humidity, and shade.  Ensure conditions are satisfactory to begin work and ensure conditions remain satisfactory during the installation of specified materials.  Materials and methods shall be adjusted as necessary to accommodate varying project conditions.  Materials shall not be installed when conditions are unacceptable to achieve the specified results.

#### Precipitation and dew point:  Monitor weather to ensure the project environment is dry before, and will remain dry, during the application of roofing materials.   Ensure all roofing materials and substrates remain above the dew point temperature as required to prevent condensation and maintain dry conditions.

#### Combustibles, flammable liquids, and solvent vapors that represent a hazard shall be eliminated. Flammable primers and cleaners shall be fully dry before proceeding with heat-welding operations. Prevent or protect wood, paper, plastics, and other such combustible materials from direct exposure to open flames from roof torches. Refer to NRCA CERTA recommendations.

#### KEE Hot-air Welding: Take all necessary precautions and measures to monitor conditions to ensure all environmental conditions are safe to proceed with the use hot-air welding equipment.   Combustibles, flammable liquids, and solvent vapors that represent a hazard shall be eliminated and primers shall be fully dry before proceeding with hot air welding operations. Refer to NRCA CERTA recommendations.

#### KEE polyurethane foam membrane adhesive: Refer to [DUOTACK SPF HFO][ICP Polyset Commercial Roof Adhesive] published product data sheets.  The ambient and surface temperature shall be between 30(F (-1(C) and 100(F (38(C) during installation.

#### KEE bonding adhesive, solvent-based:  The ambient temperature shall be above 40(F (4.4(C) during adhesive application.  Ensure temperature is well above the dew point temperature to prevent condensation during adhesive application. Allow the adhesive on both surfaces to dry to the touch.  Adhesive may be tacky to-the-touch, but not wet.  Adhesive should not transfer to the fingertips when touched.

## PERFORMANCE REQUIREMENTS

### WIND UPLIFT RESISTANCE:

#### Performance testing shall be in accordance with ANSI/FM 4474, FM 4450, FM 4470, UL 580 or UL 1897.

##### Approval Rating:

###### FM 1-[000]

###### Maximum Design Pressure (MDP) –[000.0] psf

##### Roof System Design Pressures: Calculated in accordance with ASCE 7-[00], or applicable standard, for the specified roof system attachment requirements:

###### Field of Roof (Zone 1’): 	[-00.0 psf].

###### Field of Roof (Zone 1): 	[-00.0 psf].

###### Perimeter of Roof (Zone 2): 	[-00.0 psf].

###### Corners of Roof (Zone 3):	[-00.0 psf].

### FIRE CLASSIFICATION:

      - Performance testing shall be in accordance with UL 790, ASTM E108, FM 4450 or FM 4470 to meet the [00]:12 roof slope requirement.

##### Meets requirements of UL Class A or FM Class [A][B][C].

#### Performance testing shall be in accordance with UL 1256, FM 4450, or FM 4470 to meet the specified requirements for interior flame spread and fuel contribution.

##### Meets requirements of UL 1256, or FM Class 1.

    - ROOF SLOPE:

      - Finished roof slope for hybrid KEE and SBS surfaces shall be [¼]-inch per foot (2 percent) minimum for roof drainage.

### IMPACT RESISTANCE:

#### Performance testing for impact resistance shall be in accordance with FM 4450, FM 4470, or ASTM D4272 to meet the specified impact resistance requirements.

##### Meets requirements for FM-SH (Severe Hail).

### COOL ROOF RATING COUNCIL (CRRC):

#### Bright white, KEE, smooth backed membrane shall be listed by the Cool Roof Rating Council (CRRC) with the following minimum published values:

##### CRRC Prod ID. 0772-0062

##### Solar Reflectance: 			Initial: 0.86	3 Year: 0.71

##### Thermal Emittance: 			Initial: 0.89 	3 Year: 0.89

##### Solar Reflectance Index (SRI): 	Initial: 108 	3 Year: 87

#### Bright white, KEE, fleece backed membrane shall be listed by the Cool Roof Rating Council (CRRC) with the following minimum published values:

##### CRRC Prod ID. 0772-0062

##### Solar Reflectance: 			Initial: 0.86	3 Year: 0.71

##### Thermal Emittance: 			Initial: 0.89 	3 Year: 0.89

##### Solar Reflectance Index (SRI): 	Initial: 108 	3 Year: 87

### LEED SUSTAINABLE SITES (SS) CREDITS:

#### SS 7.2, Heat Island Effect-Roof.  Membrane surface shall be bright white:

##### Seventy-five percent of the low-slope (equal to or less than 2:12) roof area shall have an SRI value greater than, or equal to, 78 as published by the Cool Roof Rating Council (CRRC).

##### Seventy-five percent of the steep-slope (greater than 2:12) roof area shall have an SRI value greater than, or equal to, 29 as published by the Cool Roof Rating Council (CRRC).

## WARRANTY

### Manufacturer's No Dollar Limit (NDL) Warranty.  The manufacturer shall provide the owner with the manufacturer’s warranty providing labor and materials to for [10][15][20][25][thirty]-years from the date the warranty is issued.

### The contractor shall guarantee the workmanship and shall provide the owner with the contractor’s warranty covering workmanship for a period of 2 years from completion date.

# PRODUCTS

## MANUFACTURER

### PRODUCT QUALITY ASSURANCE PROGRAM: Manufacturer shall be an ISO 9001 registered company.

### ACCEPTABLE MANUFACTURER:

#### SOPREMA, located at: 310 Quadral Dr.; Wadsworth, OH 44281; Tel: 800-356-3521; Tel: 330-334-0066; Website: www.soprema.us.

#### Acceptable Alternate Manufacturers:  _________________________

## ROOFING SYSTEM

### ROOFING SYSTEM BASIS OF DESIGN: SOPREMA

## KEE MEMBRANE

### KEE MEMBRANE:

#### KEE MEMBRANE, INDUCTION WELDED:

##### SOPREMA SENTINEL KEE P150: Polyester reinforced, thermoplastic membrane that utilizes DOW® EVALOY KEE (Ketone Ethylene Ester) Terpolymer with a smooth underside.

###### Thickness: 60 mils (1.5 mm)

###### Width: 10 ft (3.0 m) or 5 ft (1.5 m)

###### Length: 100 ft (30.5 m)

###### Physical Properties ASTM D4434, Type III.

Breaking Strength, lbf/in

430 (MD) 	300 (XMD)

Elongation at Break %

25 (MD)	25 (XMD)

###### Color: White

##### SOPREMA SENTINEL KEE P200: Polyester reinforced, thermoplastic membrane that utilizes DOW® EVALOY KEE (Ketone Ethylene Ester) Terpolymer with a smooth underside.

###### Width: 10 ft (2.1 m) or 5 ft (1.5 m)

###### Length: 65 ft (20 m)

###### Physical Properties ASTM D4434, Type III.

Breaking Strength, lbf/in

430 (MD) 	300 (XMD

Elongation at Break %

30 (MD)	30 (XMD)

###### Color: White

#### KEE MEMBRANE, [MECHANICALLY FASTENED][FULLY ADHERED]:

##### SOPREMA SENTINEL KEE P150: Polyester reinforced, thermoplastic membrane that utilizes DOW® EVALOY KEE (Ketone Ethylene Ester) Terpolymer with a smooth underside.

###### Thickness: 60 mils (1.5 mm)

###### Width: 10 ft (3.0 m) or 5 ft (1.5 m)

###### Length: 100 ft (30.5 m)

###### Physical Properties ASTM D4434, Type III.

Breaking Strength, lbf/in

430 (MD) 	300 (XMD)

Elongation at Break %

25 (MD)	25 (XMD)

###### Color: White

##### SOPREMA SENTINEL KEE P150 HFB: Polyester reinforced, thermoplastic membrane that utilizes DOW® EVALOY KEE (Ketone Ethylene Ester) Terpolymer with a heavy fleece back underside.

###### Thickness: 60 mils (1.5 mm)

###### Width: 10 ft (3.0 m) or 5 ft (1.5m)

###### Length: 100 ft (30.5 m)

###### Physical Properties ASTM D4434, Type III.

Breaking Strength, lbf/in

430 (MD) 	300 (XMD)

Elongation at Break %

25 (MD)	25(XMD)

###### Color: White

##### SOPREMA SENTINEL KEE P200: Polyester reinforced, thermoplastic membrane that utilizes DOW® EVALOY KEE (Ketone Ethylene Ester) Terpolymer with a smooth underside.

###### Width: 10 ft (2.1 m) or 5 ft (1.5 m)

###### Length: 65 ft (20 m)

###### Physical Properties ASTM D4434, Type III.

Breaking Strength, lbf/in

430 (MD) 	300 (XMD

Elongation at Break %

30 (MD)	30 (XMD)

###### Color: White

##### SOPREMA SENTINEL KEE P200 HFB: Polyester reinforced, thermoplastic membrane that utilizes DOW® EVALOY KEE (Ketone Ethylene Ester) Terpolymer with a heavy fleece back underside.

###### Thickness: 80 mils (2.0 mm)

###### Width: 10 ft (3.0 m) or 5 ft (1.2 m)

###### Length: 65 ft (20 m)

###### Physical Properties ASTM D4434, Type III.

Breaking Strength, lbf/in

430 (MD) 	300 (XMD)

Elongation at Break %

30 (MD)	30(XMD)

###### Color: White

#### KEE FLASHING, [INDUCTION WELDED][FULLY ADHERED][LOOSE LAID]:

##### SOPREMA SENTINEL KEE P150: Polyester reinforced, thermoplastic membrane that utilizes DOW® EVALOY KEE (Ketone Ethylene Ester) Terpolymer with a smooth underside.

###### Thickness: 60 mils (1.5 mm)

###### Width: 10 ft (3.0 m) or 5 ft (1.5 m)

###### Length: 100 ft (30.5 m)

###### Physical Properties ASTM D4434, Type III.

Breaking Strength, lbf/in

430 (MD) 	300 (XMD)

Elongation at Break %

25 (MD)	25 (XMD)

###### Color: White

##### SOPREMA SENTINEL KEE P200: Polyester reinforced, thermoplastic membrane that utilizes DOW® EVALOY KEE (Ketone Ethylene Ester) Terpolymer with a smooth underside.

###### Width: 10 ft (2.1 m) or 5 ft (1.5 m)

###### Length: 65 ft (20 m)

###### Physical Properties ASTM D4434, Type III.

Breaking Strength, lbf/in

430 (MD) 	300 (XMD

Elongation at Break %

30 (MD)	30 (XMD)

###### Color: White

## ACCESSORIES

### KEE FIELD MEMBRANE ADHESIVE:

#### SOPREMA SENTINEL S BONDING ADHESIVE:  Solvent-based adhesive.  Formulated to adhere smooth back KEE membranes.

##### VOC Content: 199.5 g/L or less.

#### SOPREMA® DUOTACK® SPF HFO: Two-component elastomeric polyurethane adhesive.  Formulated to adhere fleece back KEE membranes.

##### VOC Content: 98 g/L or less.

#### ICP POLYSET COMMERCIAL ROOF ADHESIVE:  Two-component elastomeric polyurethane froth adhesive.  Formulated to adhere fleece back KEE membranes.

##### VOC Content: 98 g/L or less.

### KEE FLASHING ADHESIVE:

#### SOPREMA SENTINEL S BONDING ADHESIVE:  Solvent-based adhesive.  Formulated to adhere smooth back KEE flashings.

##### VOC Content: 199.5 g/L or less.

### KEE SEALANT AND MASTIC:

#### SOPREMA SOPRAMASTIC SP1:  General purpose, paintable, gun-grade, elastomeric, polyether moisture curing sealant for sealing SBS membrane terminations, Kynar 500 PVDF, horizontal and vertical construction joints.

##### VOC Content:  20 g/L or less.

##### Meets or exceeds ASTM C920, Type S, Grade NS, Class 50.

##### Color: [standard color][custom color].

#### BUTYL SEALANT TAPE:  Butyl rubber and polyisobutylene water resistant sealant tape for concealed sheet metal joints.

### KEE FLASHING FASTENERS:

#### SOPREMA #14 MP FASTENER:  Membrane base ply fastener.

#### SOPREMA #15 HD FASTENER:  Membrane base ply fastener.

#### SOPREMA #15 EL FASTENER:  Membrane base ply fastener.

#### SOPREMA 2 in SEAM PLATE:  Membrane base ply seam plate.

#### SOPREMA 2.4 in SEAM PLATE:  Membrane base ply seam plate.

#### SOPREMA FLAT TERMINATION BAR

### KEE MEMBRANE ACCESSORIES:

#### SOPREMA PREFABRICATED OUTSIDE CORNER:  Prefabricated KEE Outside Corner

##### P624- 6 x 6 x 6 in (15.2 x 15.2 x 15.2 cm), white color.

#### SOPREMA PREFABRICATED INSIDE CORNER:  Prefabricated Inside KEE Corner

##### P625- 6 x 6 x 6 in (15.2 x 15.2 x 15.2 cm), white color.

#### SOPREMA T-JOINT PATCH:  4.5 in Round KEE T-Joint Patch

##### Color:  white

#### SOPREMA SENTINEL KEE PIPE FLASHING:  Prefabricated KEE pipe flashing.

##### P620- 1-6 in (2.5-15.2 cm) dia. split boot, white color.

##### P621- 1-6 in (2.5-15.2 cm) dia. closed boot, white color.

##### P622- 6-12 in (15.2-30.5 cm) dia. split boot, white color.

##### P623- 6-12 in (15.2-30.5 cm) dia. closed boot, white color.

#### SOPREMA SENTINEL WALK-WAY PAD:  Walkway protection mat.

##### Width:  30 in (0.762 m)

##### Length:  50 ft (15.24 m)

##### Color:  Grey

### LIQUID-APPLIED REINFORCED FLASHING SYSTEM:

#### SOPREMA ALSAN RS 230 Flash, Catalyzed polymethyl methacrylate (PMMA) resin with polyester reinforcing fleece fabric fully embedded into the resin to form fully reinforced waterproofing membrane flashings.  Approved for use with KEE and SBS membranes.

##### VOC Content:  Low VOC content (< 5g/l).

##### SOPREMA ALSAN RS 230 FLASH:  Polymethyl methacrylate (PMMA) liquid resin.

##### SOPREMA ALSAN RS CATALYST POWDER:  Reactive agent added to the PMMA liquid resin to induce curing.

##### SOPREMA ALSAN RS FLEECE:  Polyester reinforcement fabric.

##### Color:  Flash color and finish to match Field.

#### SOPREMA ALSAN RS 260 LO FLASH, Catalyzed polymethacrylate (PMA) resin with polyester reinforcing fleece fabric fully embedded into the resin to form fully reinforced waterproofing membrane flashings.  Approved for use with KEE and SBS membranes.

##### VOC Content:  No VOC content.

##### SOPREMA ALSAN RS 260 LO FLASH:  Polymethacrylate (PMA) liquid resin.

##### SOPREMA ALSAN RS CATALYST POWDER:  Reactive agent added to the PMMA liquid resin to induce curing.

##### SOPREMA ALSAN RS FLEECE:  Polyester reinforcement fabric.

##### Color:  Flash color and finish to match Field.

#### ALSAN RS CLEANER:  Solvent-based cleaner used to clean KEE and adjacent insitu ALSAN RS surfaces before applying ALSAN RS systems.  VOC content = 900 g/L.

### SHEET METAL FLASHING:

#### Contractor shall furnish all sheet metal flashings, counter flashings, roof edge system, and all other related sheet metal flashings and associated fasteners necessary to flash and counter flash the specified roofing system.

#### Sheet metal flashing materials and fasteners shall be compatible with adjacent materials, to accommodate all project related exposures.

#### Vinyl Coated Metal:  24-gauge galvanized sheet steel with a 20 mil, UV-resistant KEE coated topside.

##### SOPREMA SENTINEL KEE VCM:  20 mil SENTINEL KEE membrane laminated to 24 gauge (0.6 mm), galvanized sheet metal. (P702)

###### Width:  4 ft (1.219 m)

###### Length:  10 ft (3.048 m)

###### Color:  white

#### Roof Edge System:  Tested per ANSI/SPRI ES-1 to meet or exceed design pressures at roof edge.

# EXECUTION

## EXAMINATION

### Examination includes visual observations, qualitative analysis, and quantitative testing measures as necessary to ensure conditions remain satisfactory throughout the project.

### The contractor shall examine all roofing substrates including, but not limited to: insulation materials, roof decks, walls, curbs, rooftop equipment, fixtures, and wood blocking.

### The applicator shall not begin installation until conditions have been properly examined and determined to be clean, dry and, otherwise satisfactory to receive specified roofing materials.

### During the application of specified materials, the applicator shall continue to examine all project conditions to ensure conditions remain satisfactory to complete the specified roofing system.

## PREPARATION

### Before commencing work each day, the contractor shall prepare all roofing substrates to ensure conditions are satisfactory to proceed with the installation of specified roofing materials.  Preparation of substrates includes, but is not limited to, substrate repairs, securement of substrates, eliminating all incompatible materials, and cleaning.

### Where conditions are found to be unsatisfactory, work shall not begin until conditions are made satisfactory to begin work. Commencing of work shall indicate contractor’s acceptance of conditions.

### Before the application of KEE, prepare all surfaces to ensure bare KEE does not come in direct contact with exposed SBS modified bitumen, SBS primers, SBS adhesives, cements, and all other asphalt-based products.  Ensure the specified separation is maintained.

## ADHERED MEMBRANE APPLICATION (SENTINEL® S BONDING ADHESIVE)

### The ambient temperature shall be above 50(F (10(C).

### SOPREMA® SENTINEL® S BONDING ADHESIVE may be applied using a 3/8 in nap solvent resistant roller.

### Apply adhesive to clean, dry, and prepared compatible substrates as required to ensure full adhesion at the application rate published on the product data sheet.

### Apply adhesive to the underside of the bare back membrane at the application rate published on the product data sheet.

### Allow the adhesive on both surfaces to dry to a tacky feel when touched with a dry finger.

### Mate the membrane to the substrate avoiding any air entrapment or wrinkles and apply pressure with a roller or push broom to ensure complete bonding.

### At the end of the sheet where it terminates at roof edges, walls, and curbs, fasten the perimeter of the membrane with appropriate fasteners and seam plates to the deck or vertical surface at the base of the upstand.

### Hot air weld all side and end laps.

### At KEE terminations at roof edges, walls, and curbs, fasten the perimeter edge of the membrane with appropriate fasteners, seam plates or flat termination bars to the horizontal deck or vertical substrate along the termination.

### Fasten membrane termination 12 in on-centers maximum along membrane terminations.  Locate the edge of the fastener plate 1 in or more back from the edge of the membrane.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered.

## ADHERED MEMBRANE APPLICATION (DUOTACK® SPF HFO)

### Follow material product data sheets and published general requirements for installation instructions.

### Apply adhesive from spray nozzle located 2 to 3 feet above the roof surface using a sweeping motion from side to side to evenly distribute the adhesive at approximately 3,000 square feet (30 squares) per adhesive kit.

### Apply adhesive to prevent contact between bare KEE side-laps and the adhesive.

### Monitor changing environmental conditions to ensure satisfactory results as adhesive set time varies with environmental conditions.

### Unroll the KEE membrane into the adhesive so only the fleece contacts adhesive.  Prevent contact between bare side laps and adhesive.

### Unroll the KEE to prevent wrinkles and apply pressure using a roller or push broom to ensure complete adhesion between the fleece underside and the adhesive.

### End-laps shall be butted, and a 6 in wide KEE membrane cover-strip shall be welded over the butted end joint.

### SOPREMA® SENTINEL® T-JOINT PATCHES shall be hot-air welded to the membrane at all T-joint intersections.  Chamfer the welding seam prior to installing T-Joint patches using an edging tool or by heating the edge and rolling.

### Hot-air weld all side and end-laps with minimum 1-1/2 in welds.

### Fasten KEE terminations located at roof edges, walls, and curbs, using appropriate fasteners, seam plates or flat termination bars. Install fasteners into the horizontal deck or vertical substrate along the termination.

### Fasten membrane termination 12 in on-centers maximum along membrane terminations.  Locate the edge of the fastener plate 1 in or more back from the edge of the membrane.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered.

## ADHERED MEMBRANE APPLICATION (ICP POLYSET COMMERCIAL ROOF ADHESIVE)

### Follow material product data sheets and published general requirements for installation instructions.

### Refer to manufacturers published product data sheets.  The ambient and surface temperature shall be between 30(F (-1(C) and 100(F (38(C) during installation.

### Adhesive shall be applied to approved substrates in the suggested “spatter pattern” indicated in manufacturer’s published product data sheets.

### Apply adhesive from spray nozzle located 2 to 3 feet above the roof surface using a sweeping motion from side to side to evenly distribute the adhesive at approximately 3,000 square feet (30 squares) per adhesive kit.

### Apply adhesive to prevent contact between bare KEE side-laps and the adhesive.

### Refer to published literature for recommended adhesive “set” time before applying membrane.  Monitor changing environmental conditions to ensure satisfactory results as adhesive set time varies with environmental conditions.

### Unroll the KEE membrane into the adhesive so only the fleece contacts adhesive.  Prevent contact between bare side laps and adhesive.

### Unroll the KEE to prevent wrinkles and apply pressure using a roller or push broom to ensure complete adhesion between the fleece underside and the adhesive.

### End-laps shall be butted, and a 6 in wide KEE membrane cover-strip shall be welded over the butted end joint.

### SOPREMA® SENTINEL® T-JOINT PATCHES shall be hot-air welded to the membrane at all T-joint intersections.  Chamfer the welding seam prior to installing T-Joint patches using an edging tool or by heating the edge and rolling.

### Hot-air weld all side and end-laps with minimum 1-1/2 in welds.

### Fasten KEE terminations located at roof edges, walls, and curbs, using appropriate fasteners, seam plates or flat termination bars. Install fasteners into the horizontal deck or vertical substrate along the termination.

### Fasten membrane termination 12 in on-centers maximum along membrane terminations.  Locate the edge of the fastener plate 1 in or more back from the edge of the membrane.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered.

## MECHANICALLY FASTENED MEMBRANE APPLICATION

### Refer to agency approvals for fastening and other system requirements.

### Follow product data sheets and published detail requirements for additional installation instructions.

### Ensure environmental conditions are satisfactory, and will remain satisfactory, during the application.

### Starting at the low point of the roof, lay out the membrane to ensure the plies are installed perpendicular to the roof slope, shingled to prevent back-water laps.

### Remove all wrinkles from the sheet.

### Ensure all roofing and flashing substrates are prepared and acceptable to receive the mechanically fastened membrane.

### Ensure the specified side-lap and end-lap widths are maintained.  End-laps should be staggered 3 ft. apart.

### Starting at one end of the sheet, install the mechanical fasteners in the 6 in side-lap 2 in from the edge of the sheet to the center of the fastener.  Ensure spacing between fasteners in the laps meets specified wind uplift resistance requirements.

### Do not over-drive fasteners.  Install fasteners as necessary to firmly set the fastener and seam plate tight against the sheet.  Prevent wrinkles from forming in the sheet as the fasteners are installed.

### At the end of the sheet where it terminates at roof edges, walls, and curbs, fasten the perimeter of the membrane with appropriate fasteners and seam plates to the deck or vertical surface at the base of the upstand.

### Hot air weld all side and end laps.

### When rows of fasteners are installed through the membrane at perimeter and corner enhancements for example, a minimum 8 in wide sealing strip shall cover the fasteners.  The sealing strip shall be hot air welded to the membrane with a minimum 1.5 in continuous weld on all sides.

### Temporary night seals are required to seal membrane and flashing terminations watertight.  Temporary night seals should be removed upon resuming the installation.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered.

## INDUCTION WELDED FASTENING SYSTEM

### Refer to agency approvals for fastening and other system requirements.

### Follow product data sheets and published detail requirements for additional installation instructions.

### Ensure environmental conditions are satisfactory, and will remain satisfactory, during the application.

### Install fasteners and induction welding plates as required for wind uplift requirements.

### Install fasteners and plates that can be induction welded each day.

### Unroll the KEE membrane onto the roof surface and allow it to relax and remove all wrinkles.

### Hot air weld all side and end laps.

### Locate all plates beneath the KEE membrane.  Center the induction welder over the plate and activate the induction welding equipment.  Do not move the induction welder during the welding cycle.

### Once the weld is complete, place the magnets centered on the plate within 3 seconds of welding, allow sufficient time for the plate to cool before removing the magnet.

### At the end of the sheet where it terminates at roof edges, walls, and curbs, fasten the perimeter of the membrane with appropriate fasteners and seam plates to the deck or vertical surface at the base of the upstand.

### Where necessary, use a hot-air welder to ensure all laps are fully sealed.

### Inspect the installation each day to ensure the membrane is welded to each plate.

### Each day, repair all voids, wrinkles, open laps, blisters, and all other deficiencies before proceeding.

### Temporary night seals are required to seal membrane and flashing terminations watertight.  Temporary night seals should be removed upon resuming the installation.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered.

## KEE HOT-AIR WELDING

### The Contractor is responsible for project safety.  Refer to NRCA CERTA, local codes and building owner’s requirements for applicable hot work precautions.

### Hot-air welding shall be used to seal KEE flashings and membrane side-laps and end joints watertight.

### An automatic welding machine or hand welder shall be used to weld continuous minimum 1-1/2 in welds.

### Position the membrane so that it overlaps the adjacent membrane at the required side-lap width.  Ensure the side-laps are dry, clean, and free of foreign material.

### At end-laps of bare KEE membranes, round the corners by cutting a radius on both corners.

### SOPREMA T-JOINT PATCHES shall be hot-air welded to the membrane at all T-joint intersections.  Chamfer the welding seam prior to installing T-JOINT PATCHES using an edging tool or by heating the edge and rolling.

### Probe all seams/laps once the hot air welds have thoroughly cooled.

### Repair all seam deficiencies the same day they are discovered.

## LIQUID-APPLIED, [ALSAN RS 230 PMMA MEMBRANE AND FLASHING SYSTEM APPLICATION][ALSAN RS 260 LO (PMA) MEMBRANE AND FLASHING SYSTEM APPLICATION]

### Refer to manufacturer’s details drawings, product data sheets and published general requirements for application rates and specific installation instructions.

### KEE membrane preparation:

#### Ensure the KEE field membrane is fastened and secure to the substrate at all membrane terminations before liquid-applied flashing is installed.

#### Install a welded KEE cover-strip over fasteners where applicable.

#### Ensure cover-strip is welded tight, with no loose ends or open laps.

#### Ensure KEE membrane and substrates are dry, clean, and free of asphalt and all bitumen-based products. Do not allow bare KEE to meet asphalt or bitumen-based products.

#### Lightly abrade the KEE membrane surface where liquid-applied membrane is to be applied.

#### Wipe KEE membrane surface clean using ALSAN RS CLEANER and allow too fully dry.

### Pre-cut SOPREMA ALSAN RS FLEECE polyester reinforcing fleece to conform to roof terminations, transitions and penetrations being flashed.  Ensure a minimum 2 in overlap of fleece at side and end-laps. Ensure the completed liquid-applied flashing membrane is fully reinforced.

### Apply the base coat of catalyzed SOPREMA ALSAN RS resin onto the substrate using a brush or roller, working the material into the surface for complete coverage and full adhesion.

### Immediately apply the SOPREMA ALSAN RS FLEECE reinforcing into the wet base coat of resin.  Using a brush or roller, work the SOPREMA ALSAN RS FLEECE reinforcing fabric into the wet resin while applying the second coat of catalyzed SOPREMA ALSAN RS resin to completely encapsulate the fleece.

### Refer to reinforced, [polymethyl-methacrylate (PMMA)][polymethacrylate (PMA)] specification section and application instructions, details drawings, product data sheets and published general requirements for complete installation instructions.

## SHEET METAL FLASHING APPLICATION

### Ensure bare KEE and clad metal does not come in direct contact with SBS and bitumen products.

### Refer to sheet metal flashing detail drawings and follow product data sheets and published general requirements for installation instructions.

### Follow the most recent edition of the SMACNA Architectural Sheet Metal Manual for fabrication and installation requirements.

## WALKWAYS

### At areas outlined on the drawings, and around the perimeter of all rooftop equipment and at all door and stair landings, install walkway protection.

### Cut walkway from end of SOPREMA SENTINEL WALK-WAY PAD.

### Adhere the center of walkway to the membrane.  Mate the membrane to the substrate avoiding any air entrapment or wrinkles.  Apply pressure with a roller or push broom to ensure complete bonding.

### Hot-air weld the entire perimeter of the SOPREMA SENTINEL WALK-WAY PAD to the membrane.

## CLEAN-UP

### Clean-up and properly dispose of waste and debris resulting from these operations each day as required to prevent damages and disruptions to operations.

END OF SECTION